## RELATIVE COST O&M
US | 50.75 |  |  |  | China |  |  |  |  | Europe
Equipment | Cost | Unit | Total Cost $ | Total Cost Php | Equipment | Cost | Unit | Total Cost $ | Total Cost Php | Equipment | Cost | Unit | Total Cost $ | Total Cost Php
Boiler | 699000000 | 1 | 699000000 | 35474250000 | Boiler | 699700000 | 1 | 699700000 | 35509775000 | Boiler | 700586000 | 1 | 700586000 | 35554739500
Low Pressure Turbine | 88040000 | 1 | 88040000 | 4468030000 | Low Pressure Turbine | 87060000 | 1 | 87060000 | 4418295000 | Low Pressure Turbine | 90700000 | 1 | 90700000 | 4603025000
High Pressure Turbine | 81486200 | 1 | 81486200 | 4135424650 | High Pressure Turbine | 80000000 | 1 | 80000000 | 4060000000 | High Pressure Turbine | 80920000 | 1 | 80920000 | 4106690000
Double Flow Turbine | 276269530 | 1 | 276269530 | 14020678647.5 | Double Flow Turbine | 280560000 | 1 | 280560000 | 14238420000 | Double Flow Turbine | 280750000 | 1 | 280750000 | 14248062500
Condenser | 154000000 | 1 | 154000000 | 7815500000 | Condenser | 150200000 | 1 | 150200000 | 7622650000 | Condenser | 150500000 | 1 | 150500000 | 7637875000
Deaerator | 10902000 | 1 | 10902000 | 553276500 | Deaerator | 10800000 | 1 | 10800000 | 548100000 | Deaerator | 11056000 | 1 | 11056000 | 561092000
Closed FW Heater | 9508000 | 7 | 66556000 | 3377717000 | Closed FW Heater | 9050000 | 7 | 63350000 | 3215012500 | Closed FW Heater | 9076000 | 7 | 63532000 | 3224249000
Pump | 15000000 | 3 | 45000000 | 2283750000 | Pump | 14900000 | 3 | 44700000 | 2268525000 | Pump | 15500000 | 3 | 46500000 | 2359875000
Generator | 48800600 | 1 | 48800600 | 2476630450 | Generator | 48146000 | 1 | 48146000 | 2443409500 | Generator | 48400000 | 1 | 48400000 | 2456300000
| Total equipment cost |  |  | 74605257247.5 |  | Total Equipment Cost |  |  | 74324187000 |  | Total Equipment Cost |  |  | 74751908000
Total equipment cost |  |  |  | 74605257247.5 | Total equipment cost |  |  |  | 74324187000 | Total equipment cost |  |  |  | 74751908000
Miscellaneous Cost |  |  | 0.1 | 7460525724.75 | Miscellaneous Cost |  |  | 0.1 | 7432418700 | Miscellaneous Cost |  |  | 0.1 | 7475190800
Building Cost |  |  | 0.33 | 24619734891.675 | Building Cost |  |  | 0.33 | 24526981710 | Building Cost |  |  | 0.33 | 24668129640
Electrical Cost |  |  | 0.2 | 14921051449.5 | Electrical Cost |  |  | 0.2 | 14864837400 | Electrical Cost |  |  | 0.2 | 14950381600
Excavation and Foundation |  |  | 0.15 | 75431634.3 | Excavation and Foundation |  |  | 0.15 | 75431634.3 | Excavation and Foundation |  |  | 0.15 | 75431634.3
Land Cost (1250/m2) |  |  |  | 502877562 | Land Cost (1250/m2) |  |  |  | 502877562 | Land Cost (1250/m2) |  |  |  | 502877562
instrumentation and control |  |  | 0.2 | 14921051449.5 | instrumentation and control |  |  | 0.2 | 14864837400 | instrumentation and control |  |  | 0.2 | 14950381600
| Relative Capital Cost |  |  | 137105929959.225 |  | Relative Capital Cost |  |  | 136591571406.3 |  | Relative Capital Cost |  |  | 137374300836.3

## CASE 1
Equipment (EU) |  |  |  |  | Capital Expenditures |  |  |  |  | Depreciation | [9 empty] | Sensitivity Analysis
| price ($) | unit | total | price (Php) | Equipment Cost |  | 73370087000 | service facilities cost | 2043425452.0861 |  | BookValue |  | Depreciation Rate | Salvage Value |  | Service Life | Depreciation |  |  |  | Power Generation -10% | Increase Fuel Price 10% | Decrease Fuel Price 10%
Boiler | 700586000 | 1 | 700586000 | 35554739500 | Miscellaneous Cost | 0.1 | 7337008700 | auxilliary cost | 2724567269.4481 | Equipment Cost | 73370087000 |  | 0.04 | 2934803480 |  | 25 | 2817411340.8 |  |  | Revenue | 35541072000 | 42924000000 | 42924000000
Low Pressure Turbine | 90700000 | 1 | 90700000 | 4603025000 | Building Cost | 0.33 | 24212128710 |  |  | Instrumentation & Cost | 14674017400 |  | 0.04 | 586960696 |  | 25 | 563482268.16 |  |  | Operating Cost | 4854440462.6475 | 16144364628.8961 | 10966383259.5285
High Pressure Turbine | 80920000 | 1 | 80920000 | 4106690000 | Electrical Cost | 0.2 | 14674017400 |  |  | Service Facilities | 2043425452.0861 |  | 0.04 | 81737018.0834 |  | 25 | 78467537.3601 |  |  | Total Revenue | 30686631537.3525 | 26779635371.1039 | 31957616740.4715
Double Flow Turbine | 280750000 | 1 | 280750000 | 14248062500 | Excavation and Foundation Cost | 0.15 | 75431634.375 | Note |  | Capital Cost | 134845568406.875 |  | 0.04 | 5393822736.275 |  | 25 | 5178069826.824
Condenser | 150500000 | 1 | 150500000 | 7637875000 | Land Cost (1250/m2) |  | 502877562.5 | Capacity (kW) | 500000 | Miscellaneous | 7337008700 |  | 0.04 | 293480348 |  | 25 | 281741134.08 |  |  | Particular | Change | Net Income After Tax | ENPV | EIRR
Deaerator | 11056000 | 1 | 11056000 | 561092000 | Instrumentation and Control | 0.2 | 14674017400 | Electricity cost per kWh | 9.8 | [6 empty] | Total | 8919172107.2241 |  |  | Base Case |  | PHP | PHP | %
Closed FW Heater | 9076000 | 4 | 36304000 | 1842428000 |  | total | 134845568406.875 | heat rate (kJ/kWh) | 10129.8858 | [10 empty] | Construction Delay | 1 year | 30663447287.4837 | 308996785412.8395 | 3.3724
Pump | 15500000 | 3 | 46500000 | 2359875000 | [5 empty] | ROI | [9 empty] | Reduce of Power Generation by 10% | 10% | 30686631537.3525 | 309230414026.5602 | 3.3755
Generator | 48400000 | 1 | 48400000 | 2456300000 | [5 empty] | Year |  | Period |  |  | TCL |  | Net Income After Tax |  | ROI | Increase of Fuel Price by 10% | 10% | 26779635371.1039 | 269859457308.2039 | 2.8139
|  |  | total | 73370087000 | Annual Operating Expenditures |  |  | Heat rate KJ/MW-hr | 10129885.7995 | 2022 |  | 2 |  |  | 134845568406.875 |  | 30663447287.4837 |  | 22.74% | Drop of Fuel Price by 10% | 10% | 31957616740.4715 | 322038182780.9678 | 3.5435
[5 empty] | Fuel Cost |  | 6811418173.6202 | Coal price ($) | 0.068 | 2023 |  | 3 |  |  | 104182121119.3913 |  | 30663447287.4837 |  | 29.43%
[5 empty] | Labor | 0.2 | 1362283634.724 | Coal price (Php) | 3.451 | 2024 |  | 4 |  |  | 73518673831.9077 |  | 30663447287.4837 |  | 41.71% | Break Even
[5 empty] | Maintenance and Repair | 0.2 | 1362283634.724 | HHV kJ/kg | 22479.4704 | 2025 |  | 5 |  |  | 42855226544.424 |  | 30663447287.4837 |  | 71.55% | Annual Equipment Cost | Annual Capital Cost | Equivalent Total Annual Cost | Equivalent Total Annual Benefit | Unit Generated To Break Even (MW)
[5 empty] | Supervision | 0.2 | 1362283634.724 | Fuel Cost | 6811418173.6202 | 2045 |  | 25 |  |  | -570413719205.2495 |  | 30663447287.4837 |  | 5.376% | 2704714887.168 | 4970947033.751 | 19936214633.4354 | 42924000000 | 232.2269
[5 empty] | Supplies | 0.1 | 681141817.362 | Annual Revenue | 42924000000 | [8 empty] | Average | 34.16%
[5 empty] | Operating Taxes | 0.1 | 681141817.362 | Revenue | 523581660546.3251
[6 empty] | total | 12260552712.5163 | Annual Depreciation | 4854440462.6475 | Payback Period | [9 empty] | For Power Generation - 10%
[10 empty] | Year |  | Net Income After Tax |  |  |  | TCL | Depreciation |  |  | Design | 450
[9 empty] | 450000 | 2022 |  | 30663447287.4837 |  |  |  | 134845568406.875 | 125926396299.6509
[7 empty] | 681141817.362 | Annual Revenue | 38631600000 | 2023 |  | 30663447287.4837 |  |  |  | 104182121119.3913 | 117007224192.4268
[7 empty] | 7492559990.9822 |  |  | 2024 |  | 30663447287.4837 |  |  |  | 73518673831.9077 | 108088052085.2027
[7 empty] | 12941694529.8783 |  |  | 2025 |  | 30663447287.4837 |  |  |  | 42855226544.424 | 99168879977.9786
[7 empty] | 6130276356.2582 |  |  | Average |  | 30663447287.4837 |  |  |  | 88850397475.6495 | 112547638138.8147
[7 empty] | 11579410895.1543 |  |  | Payback Period | [5 empty] | 4.3976

## CASE 1 Graph
CASE 1. REDUCTION OF POWER GENERATION BY 10%
Initial Cost | 134845568406.875
Annual Revenue | 38631600000
roi | 0.04
Operating Expenditures | 12260552712.5163
n = | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Future Revenue | 37145769230.7693 | 72862855029.5859 | 107206206759.2171 | 140228660345.4012 | 171981019562.8859 | 202512134195.0826 | 231868975187.5793 | 260096706911.1341 | 287238756645.3214 | 313336881389.7321 | 338431232105.5115 | 362560415486.0689 | 385761553351.9893 | 408070339761.5281 | 429521095924.5464 | 450146823004.3716 | 469979252888.8188 | 489048897008.4797 | 507385093277.3843 | 525016051228.2542 | 541968895411.783 | 558269707126.7144 | 573943564544.9176 | 589014581293.1901 | 603505943551.1443
Salvage Value | 37145769230.7692 | 35717085798.8166 | 34343351729.6313 | 33022453586.184 | 31752359217.4846 | 30531114632.1967 | 29356840992.4968 | 28227731723.5546 | 27142049734.1871 | 26098124744.4107 | 25094350715.7795 | 24129183380.5572 | 23201137865.9204 | 22308786409.5389 | 21450756163.0181 | 20625727079.8251 | 19832429884.4472 | 19069644119.6608 | 18336196268.9046 | 17630957950.8698 | 16952844183.5287 | 16300811714.9314 | 15673857418.2033 | 15071016748.2724 | 14491362257.9542
Future Cash Flow | 74291538461.5385 | 108579940828.4025 | 141549558488.8484 | 173251113931.5851 | 203733378780.3705 | 233043248827.2792 | 261225816180.0761 | 288324438634.6887 | 314380806379.5085 | 339435006134.1428 | 363525582821.291 | 386689598866.6262 | 408962691217.9097 | 430379126171.067 | 450971852087.5645 | 470772550084.1967 | 489811682773.2661 | 508118541128.1405 | 525721289546.2889 | 542647009179.124 | 558921739595.3116 | 574570518841.6458 | 589617421963.1208 | 604085598041.4624 | 617997305809.0985
Operating Cost | 11788992992.8042 | 23124563178.1928 | 34024149894.9126 | 44504521737.9125 | 54581802356.1816 | 64271495258.3634 | 73588507664.3074 | 82547173439.2536 | 91161275145.9327 | 99444065248.5086 | 107408286500.9855 | 115066191551.4441 | 122429561792.2697 | 129509725485.3711 | 136317575190.2764 | 142863584521.9161 | 149157824263.8774 | 155209977861.917 | 161029356321.5706 | 166624912532.7758 | 172005255043.5502 | 177178661303.9101 | 182153090400.41 | 186936195300.8907 | 191535334628.2761
Total Capital Cost | 146634561399.6792 | 157970131585.0678 | 168869718301.7876 | 179350090144.7875 | 189427370763.0566 | 199117063665.2384 | 208434076071.1824 | 217392741846.1286 | 226006843552.8077 | 234289633655.3836 | 242253854907.8605 | 249911759958.3192 | 257275130199.1447 | 264355293892.2462 | 271163143597.1514 | 277709152928.7911 | 284003392670.7524 | 290055546268.792 | 295874924728.4456 | 301470480939.6509 | 306850823450.4252 | 312024229710.7852 | 316998658807.285 | 321781763707.7657 | 326380903035.1511
| Units | Total Capital Cost | Future Cash Flow
| 1 | 146634561399.6792 | 74291538461.5385
| 2 | 157970131585.0678 | 108579940828.4025
| 3 | 168869718301.7876 | 141549558488.8484
| 4 | 179350090144.7875 | 173251113931.5851
| 5 | 189427370763.0566 | 203733378780.3705
| 6 | 199117063665.2384 | 233043248827.2792
| 7 | 208434076071.1824 | 261225816180.0761
| 8 | 217392741846.1286 | 288324438634.6887
| 9 | 226006843552.8077 | 314380806379.5085
| 10 | 234289633655.3836 | 339435006134.1428
| 11 | 242253854907.8605 | 363525582821.291
| 12 | 249911759958.3192 | 386689598866.6262
| 13 | 257275130199.1447 | 408962691217.9097
| 14 | 264355293892.2462 | 430379126171.067
| 15 | 271163143597.1514 | 450971852087.5645
| 16 | 277709152928.7911 | 470772550084.1967
| 17 | 284003392670.7524 | 489811682773.2661
| 18 | 290055546268.792 | 508118541128.1405
| 19 | 295874924728.4456 | 525721289546.2889
| 20 | 301470480939.6509 | 542647009179.124
| 21 | 306850823450.4252 | 558921739595.3116
| 22 | 312024229710.7852 | 574570518841.6458
| 23 | 316998658807.285 | 589617421963.1208
| 24 | 321781763707.7657 | 604085598041.4624
| 25 | 326380903035.1511 | 617997305809.0985
CASE 2. INCREASE OF FUEL PRICE BY 10%
Initial Cost | 134845568406.875
Annual Revenue | 42924000000
roi | 0.04
Operating Expenditures | 12941694529.8783
n = | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Future Revenue | 41273076923.077 | 80958727810.651 | 119118007510.2413 | 155809622606.0013 | 191090021736.5399 | 225013482438.9806 | 257632194652.8658 | 288996341012.3712 | 319154174050.3571 | 348152090433.0356 | 376034702339.4572 | 402844906095.6321 | 428623948168.877 | 453411488623.9202 | 477245662138.3848 | 500163136671.524 | 522199169876.4654 | 543387663342.7552 | 563761214752.6492 | 583351168031.3934 | 602187661568.6477 | 620299674585.2382 | 637715071716.5751 | 654460645881.3223 | 670562159501.2715
Salvage Value | 41273076923.0769 | 39685650887.574 | 38159279699.5903 | 36691615095.7599 | 35280399130.5384 | 33923460702.4408 | 32618712213.8854 | 31364146359.5052 | 30157833037.9857 | 28997916382.6786 | 27882611906.4217 | 26810203756.1747 | 25779042073.2449 | 24787540455.0432 | 23834173514.4646 | 22917474533.139 | 22036033204.9414 | 21188493466.2898 | 20373551409.894 | 19589953278.7443 | 18836493537.2541 | 18112013016.5905 | 17415397131.337 | 16745574164.7471 | 16101513619.9491
Future Cash Flow | 82546153846.1539 | 120644378698.225 | 157277287209.8316 | 192501237701.7613 | 226370420867.0783 | 258936943141.4214 | 290250906866.7512 | 320360487371.8763 | 349312007088.3428 | 377150006815.7142 | 403917314245.8789 | 429655109851.8069 | 454402990242.1219 | 478199029078.9634 | 501079835652.8494 | 523080611204.663 | 544235203081.4068 | 564576156809.0449 | 584134766162.5432 | 602941121310.1377 | 621024155105.9019 | 638411687601.8286 | 655130468847.9121 | 671206220046.0693 | 686663673121.2206
Operating Cost | 12443937047.96 | 24409261132.5369 | 35914380444.63 | 46976995167.7965 | 57614124709.3028 | 67842133883.828 | 77676758090.1022 | 87133127519.2121 | 96225790431.8178 | 104968735540.0925 | 113375413528.8181 | 121458757748.7466 | 129231204114.0624 | 136704710234.5584 | 143890773811.9585 | 150800450328.6893 | 157444370056.315 | 163832754409.8013 | 169975431672.7689 | 175881852117.9301 | 181561102545.9697 | 187021920265.2385 | 192272706533.7661 | 197321539484.2736 | 202176186552.0692
Total Capital Cost | 147289505454.835 | 159254829539.4119 | 170759948851.505 | 181822563574.6715 | 192459693116.1778 | 202687702290.703 | 212522326496.9772 | 221978695926.0871 | 231071358838.6928 | 239814303946.9675 | 248220981935.6931 | 256304326155.6216 | 264076772520.9374 | 271550278641.4334 | 278736342218.8335 | 285646018735.5643 | 292289938463.1901 | 298678322816.6763 | 304821000079.6439 | 310727420524.8051 | 316406670952.8447 | 321867488672.1135 | 327118274940.6411 | 332167107891.1486 | 337021754958.9442
| Units | Total Capital Cost | Future Cash Flow
| 1 | 147289505454.835 | 82546153846.1539
| 2 | 159254829539.4119 | 120644378698.225
| 3 | 170759948851.505 | 157277287209.8316
| 4 | 181822563574.6715 | 192501237701.7613
| 5 | 192459693116.1778 | 226370420867.0783
| 6 | 202687702290.703 | 258936943141.4214
| 7 | 212522326496.9772 | 290250906866.7512
| 8 | 221978695926.0871 | 320360487371.8763
| 9 | 231071358838.6928 | 349312007088.3428
| 10 | 239814303946.9675 | 377150006815.7142
| 11 | 248220981935.6931 | 403917314245.8789
| 12 | 256304326155.6216 | 429655109851.8069
| 13 | 264076772520.9374 | 454402990242.1219
| 14 | 271550278641.4334 | 478199029078.9634
| 15 | 278736342218.8335 | 501079835652.8494
| 16 | 285646018735.5643 | 523080611204.663
| 17 | 292289938463.1901 | 544235203081.4068
| 18 | 298678322816.6763 | 564576156809.0449
| 19 | 304821000079.6439 | 584134766162.5432
| 20 | 310727420524.8051 | 602941121310.1377
| 21 | 316406670952.8447 | 621024155105.9019
| 22 | 321867488672.1135 | 638411687601.8286
| 23 | 327118274940.6411 | 655130468847.9121
| 24 | 332167107891.1486 | 671206220046.0693
| 25 | 337021754958.9442 | 686663673121.2206
CASE 2. DROP OF FUEL PRICE BY 10%
Initial Cost | 134845568406.875
Annual Revenue | 42924000000
roi | 0.04
Operating Expenditures | 11579410895.1543
n = | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Future Revenue | 41273076923.077 | 80958727810.651 | 119118007510.2413 | 155809622606.0013 | 191090021736.5399 | 225013482438.9806 | 257632194652.8658 | 288996341012.3712 | 319154174050.3571 | 348152090433.0356 | 376034702339.4572 | 402844906095.6321 | 428623948168.877 | 453411488623.9202 | 477245662138.3848 | 500163136671.524 | 522199169876.4654 | 543387663342.7552 | 563761214752.6492 | 583351168031.3934 | 602187661568.6477 | 620299674585.2382 | 637715071716.5751 | 654460645881.3223 | 670562159501.2715
Salvage Value | 41273076923.0769 | 39685650887.574 | 38159279699.5903 | 36691615095.7599 | 35280399130.5384 | 33923460702.4408 | 32618712213.8854 | 31364146359.5052 | 30157833037.9857 | 28997916382.6786 | 27882611906.4217 | 26810203756.1747 | 25779042073.2449 | 24787540455.0432 | 23834173514.4646 | 22917474533.139 | 22036033204.9414 | 21188493466.2898 | 20373551409.894 | 19589953278.7443 | 18836493537.2541 | 18112013016.5905 | 17415397131.337 | 16745574164.7471 | 16101513619.9491
Future Cash Flow | 82546153846.1539 | 120644378698.225 | 157277287209.8316 | 192501237701.7613 | 226370420867.0783 | 258936943141.4214 | 290250906866.7512 | 320360487371.8763 | 349312007088.3428 | 377150006815.7142 | 403917314245.8789 | 429655109851.8069 | 454402990242.1219 | 478199029078.9634 | 501079835652.8494 | 523080611204.663 | 544235203081.4068 | 564576156809.0449 | 584134766162.5432 | 602941121310.1377 | 621024155105.9019 | 638411687601.8286 | 655130468847.9121 | 671206220046.0693 | 686663673121.2206
Operating Cost | 11134048937.6484 | 21839865223.8488 | 32133919345.1952 | 42032048308.0285 | 51549480003.0604 | 60700856632.8987 | 69500257238.5125 | 77961219359.2951 | 86096759860.0475 | 93919394956.9248 | 101441159473.153 | 108673625354.1417 | 115627919470.4769 | 122314740736.1839 | 128744376568.5944 | 134926718715.143 | 140871278471.4398 | 146587201314.0327 | 152083280970.3722 | 157367972947.6216 | 162449407541.1307 | 167335402342.5818 | 172033474267.0539 | 176550851117.5079 | 180894482704.4829
Total Capital Cost | 145979617344.5234 | 156685433630.7238 | 166979487752.0703 | 176877616714.9034 | 186395048409.9354 | 195546425039.7737 | 204345825645.3875 | 212806787766.17 | 220942328266.9225 | 228764963363.7998 | 236286727880.028 | 243519193761.0167 | 250473487877.3519 | 257160309143.0588 | 263589944975.4694 | 269772287122.018 | 275716846878.3148 | 281432769720.9077 | 286928849377.2472 | 292213541354.4966 | 297294975948.0057 | 302180970749.4568 | 306879042673.9289 | 311396419524.3829 | 315740051111.3579
| Units | Total Capital Cost | Future Cash Flow
| 1 | 145979617344.5234 | 82546153846.1539
| 2 | 156685433630.7238 | 120644378698.225
| 3 | 166979487752.0703 | 157277287209.8316
| 4 | 176877616714.9034 | 192501237701.7613
| 5 | 186395048409.9354 | 226370420867.0783
| 6 | 195546425039.7737 | 258936943141.4214
| 7 | 204345825645.3875 | 290250906866.7512
| 8 | 212806787766.17 | 320360487371.8763
| 9 | 220942328266.9225 | 349312007088.3428
| 10 | 228764963363.7998 | 377150006815.7142
| 11 | 236286727880.028 | 403917314245.8789
| 12 | 243519193761.0167 | 429655109851.8069
| 13 | 250473487877.3519 | 454402990242.1219
| 14 | 257160309143.0588 | 478199029078.9634
| 15 | 263589944975.4694 | 501079835652.8494
| 16 | 269772287122.018 | 523080611204.663
| 17 | 275716846878.3148 | 544235203081.4068
| 18 | 281432769720.9077 | 564576156809.0449
| 19 | 286928849377.2472 | 584134766162.5432
| 20 | 292213541354.4966 | 602941121310.1377
| 21 | 297294975948.0057 | 621024155105.9019
| 22 | 302180970749.4568 | 638411687601.8286
| 23 | 306879042673.9289 | 655130468847.9121
| 24 | 311396419524.3829 | 671206220046.0693
| 25 | 315740051111.3579 | 686663673121.2206

## CASE 2
Equipment (EU) |  |  |  |  | Capital Expenditures |  |  |  |  | Depreciation | [9 empty] | Sensitivity Analysis
| price ($) | unit | total | price (Php) | Equipment Cost |  | 73830694000 | service facilities cost | 2011629915.3995 |  | BookValue |  | Depreciation Rate | Salvage Value |  | Service Life | Depreciation |  |  |  | Power Generation -10% | Increase Fuel Price 10% | Decrease Fuel Price 10%
Boiler | 700586000 | 1 | 700586000 | 35554739500 | Miscellaneous Cost | 0.1 | 7383069400 | auxilliary cost | 2682173220.5327 | Equipment Cost | 73830694000 |  | 0.04 | 2953227760 |  | 25 | 2835098649.6 |  |  | Revenue | 35541072000 | 42924000000 | 42924000000
Low Pressure Turbine | 90700000 | 1 | 90700000 | 4603025000 | Building Cost | 0.33 | 24364129020 |  |  | Instrumentation & Cost | 14766138800 |  | 0.04 | 590645552 |  | 25 | 567019729.92 |  |  | Operating Cost | 4884785251.8075 | 16059576531.0654 | 10795747212.6441
High Pressure Turbine | 80920000 | 1 | 80920000 | 4106690000 | Electrical Cost | 0.2 | 14766138800 |  |  | Service Facilities | 2011629915.3995 |  | 0.04 | 80465196.616 |  | 25 | 77246588.7513 |  |  | Total Revenue | 30656286748.1925 | 26864423468.9346 | 32128252787.3559
Double Flow Turbine | 280750000 | 1 | 280750000 | 14248062500 | Excavation and Foundation Cost | 0.15 | 75431634.375 | Note |  | Capital Cost | 135688479216.875 |  | 0.04 | 5427539168.675 |  | 25 | 5210437601.928
Condenser | 150500000 | 1 | 150500000 | 7637875000 | Land Cost (1250/m2) |  | 502877562.5 | Capacity (kW) | 500000 | Miscellaneous | 7383069400 |  | 0.04 | 295322776 |  | 25 | 283509864.96 |  |  | Particular | Change | Net Income After Tax | ENPV | EIRR
Deaerator | 11056000 | 1 | 11056000 | 561092000 | Instrumentation and Control | 0.2 | 14766138800 | Electricity cost per kWh | 9.8 | [6 empty] | Total | 8973312435.1593 |  |  | Base Case |  | PHP | PHP | %
Closed FW Heater | 9076000 | 5 | 45380000 | 2303035000 |  | total | 135688479216.875 | heat rate (kJ/kWh) | 9972.2656 | [10 empty] | Construction Delay | 1 year | 30854220507.6028 | 310919214786.3867 | 3.3723
Pump | 15500000 | 3 | 46500000 | 2359875000 | [5 empty] | ROI | [9 empty] | Reduce of Power Generation by 10% | 10% | 30656286748.1925 | 308924628371.8502 | 3.3457
Generator | 48400000 | 1 | 48400000 | 2456300000 | [5 empty] | Year |  | Period |  |  | TCL |  | Net Income After Tax |  | ROI | Increase of Fuel Price by 10% | 10% | 26864423468.9346 | 270713870363.1138 | 2.8013
|  |  | total | 73830694000 | Annual Operating Expenditures |  |  | Heat rate KJ/MW-hr | 9972265.5862 | 2022 |  | 2 |  |  | 135688479216.875 |  | 30854220507.6028 |  | 22.74% | Drop of Fuel Price by 10% | 10% | 32128252787.3559 | 323757689053.9739 | 3.5397
[5 empty] | Fuel Cost |  | 6705433051.3318 | Coal price ($) | 0.068 | 2023 |  | 3 |  |  | 104834258709.2722 |  | 30854220507.6028 |  | 29.43%
[5 empty] | Labor | 0.2 | 1341086610.2664 | Coal price (Php) | 3.451 | 2024 |  | 4 |  |  | 73980038201.6694 |  | 30854220507.6028 |  | 41.71% | Break Even
[5 empty] | Maintenance and Repair | 0.2 | 1341086610.2664 | HHV kJ/kg | 22479.4704 | 2025 |  | 5 |  |  | 43125817694.0666 |  | 30854220507.6028 |  | 71.54% | Annual Equipment Cost | Annual Capital Cost | Equivalent Total Annual Cost | Equivalent Total Annual Benefit | Unit Generated To Break Even (MW)
[5 empty] | Supervision | 0.2 | 1341086610.2664 | Fuel Cost | 6705433051.3318 | 2045 |  | 25 |  |  | -573958592457.9899 |  | 30854220507.6028 |  | 5.376% | 2721694703.616 | 5002020097.8509 | 19793494293.8641 | 42924000000 | 230.5644
[5 empty] | Supplies | 0.1 | 670543305.1332 | Annual Revenue | 42924000000 | [8 empty] | Average | 34.16%
[5 empty] | Operating Taxes | 0.1 | 670543305.1332 | Revenue | 523581660546.3251
[6 empty] | total | 12069779492.3972 | Annual Depreciation | 4884785251.8075 | Payback Period | [9 empty] | For Power Generation - 10%
[10 empty] | Year |  | Net Income After Tax |  |  |  | TCL | Depreciation |  |  | Design | 450
[7 empty] | 670543305.1332 |  |  | 2022 |  | 30854220507.6028 |  |  |  | 135688479216.875 | 126715166781.7157
[7 empty] | 7375976356.4649 |  |  | 2023 |  | 30854220507.6028 |  |  |  | 104834258709.2722 | 117741854346.5563
[7 empty] | 12740322797.5304 |  |  | 2024 |  | 30854220507.6028 |  |  |  | 73980038201.6694 | 108768541911.397
[7 empty] | 6034889746.1986 |  |  | 2025 |  | 30854220507.6028 |  |  |  | 43125817694.0666 | 99795229476.2377
[7 empty] | 11399236187.264 |  |  | Average |  | 30854220507.6028 |  |  |  | 89407148455.4708 | 113255198128.9767
[10 empty] | Payback Period | [5 empty] | 4.3977

## CASE 2 Graph
CASE 1. REDUCTION OF POWER GENERATION BY 10%
Initial Cost | 135688479216.875
Annual Revenue | 38631600000
roi | 0.04
Operating Expenditures | 12069779492.3972
n = | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Future Revenue | 37145769230.7693 | 72862855029.5859 | 107206206759.2171 | 140228660345.4012 | 171981019562.8859 | 202512134195.0826 | 231868975187.5793 | 260096706911.1341 | 287238756645.3214 | 313336881389.7321 | 338431232105.5115 | 362560415486.0689 | 385761553351.9893 | 408070339761.5281 | 429521095924.5464 | 450146823004.3716 | 469979252888.8188 | 489048897008.4797 | 507385093277.3843 | 525016051228.2542 | 541968895411.783 | 558269707126.7144 | 573943564544.9176 | 589014581293.1901 | 603505943551.1443
Salvage Value | 37145769230.7692 | 35717085798.8166 | 34343351729.6313 | 33022453586.184 | 31752359217.4846 | 30531114632.1967 | 29356840992.4968 | 28227731723.5546 | 27142049734.1871 | 26098124744.4107 | 25094350715.7795 | 24129183380.5572 | 23201137865.9204 | 22308786409.5389 | 21450756163.0181 | 20625727079.8251 | 19832429884.4472 | 19069644119.6608 | 18336196268.9046 | 17630957950.8698 | 16952844183.5287 | 16300811714.9314 | 15673857418.2033 | 15071016748.2724 | 14491362257.9542
Future Cash Flow | 74291538461.5385 | 108579940828.4025 | 141549558488.8484 | 173251113931.5851 | 203733378780.3705 | 233043248827.2792 | 261225816180.0761 | 288324438634.6887 | 314380806379.5085 | 339435006134.1428 | 363525582821.291 | 386689598866.6262 | 408962691217.9097 | 430379126171.067 | 450971852087.5645 | 470772550084.1967 | 489811682773.2661 | 508118541128.1405 | 525721289546.2889 | 542647009179.124 | 558921739595.3116 | 574570518841.6458 | 589617421963.1208 | 604085598041.4624 | 617997305809.0985
Operating Cost | 11605557204.2281 | 22764746823.6781 | 33494736842.3801 | 43812034937.2859 | 53732513874.6953 | 63271435929.8966 | 72443476367.5901 | 81262746019.2186 | 89742812991.9383 | 97896723542.6302 | 105737022149.0648 | 113275770809.0981 | 120524567597.5916 | 127494564509.6046 | 134196484617.3094 | 140640638567.0256 | 146836940441.7527 | 152794923013.6056 | 158523752409.6181 | 164032242213.4762 | 169328867024.8783 | 174421775497.3802 | 179318802874.7859 | 184027483045.3684 | 188555060132.4669
Total Capital Cost | 147294036421.1031 | 158453226040.5531 | 169183216059.2551 | 179500514154.1609 | 189420993091.5703 | 198959915146.7716 | 208131955584.4651 | 216951225236.0936 | 225431292208.8133 | 233585202759.5052 | 241425501365.9398 | 248964250025.9731 | 256213046814.4666 | 263183043726.4796 | 269884963834.1844 | 276329117783.9006 | 282525419658.6277 | 288483402230.4806 | 294212231626.493 | 299720721430.3512 | 305017346241.7533 | 310110254714.2552 | 315007282091.6609 | 319715962262.2434 | 324243539349.3419
| Units | Total Capital Cost | Future Cash Flow
| 1 | 147294036421.1031 | 74291538461.5385
| 2 | 158453226040.5531 | 108579940828.4025
| 3 | 169183216059.2551 | 141549558488.8484
| 4 | 179500514154.1609 | 173251113931.5851
| 5 | 189420993091.5703 | 203733378780.3705
| 6 | 198959915146.7716 | 233043248827.2792
| 7 | 208131955584.4651 | 261225816180.0761
| 8 | 216951225236.0936 | 288324438634.6887
| 9 | 225431292208.8133 | 314380806379.5085
| 10 | 233585202759.5052 | 339435006134.1428
| 11 | 241425501365.9398 | 363525582821.291
| 12 | 248964250025.9731 | 386689598866.6262
| 13 | 256213046814.4666 | 408962691217.9097
| 14 | 263183043726.4796 | 430379126171.067
| 15 | 269884963834.1844 | 450971852087.5645
| 16 | 276329117783.9006 | 470772550084.1967
| 17 | 282525419658.6277 | 489811682773.2661
| 18 | 288483402230.4806 | 508118541128.1405
| 19 | 294212231626.493 | 525721289546.2889
| 20 | 299720721430.3512 | 542647009179.124
| 21 | 305017346241.7533 | 558921739595.3116
| 22 | 310110254714.2552 | 574570518841.6458
| 23 | 315007282091.6609 | 589617421963.1208
| 24 | 319715962262.2434 | 604085598041.4624
| 25 | 324243539349.3419 | 617997305809.0985
CASE 2. INCREASE OF FUEL PRICE BY 10%
Initial Cost | 135688479216.875
Annual Revenue | 42924000000
roi | 0.04
Operating Expenditures | 12740322797.5304
n = | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Future Revenue | 41273076923.077 | 80958727810.651 | 119118007510.2413 | 155809622606.0013 | 191090021736.5399 | 225013482438.9806 | 257632194652.8658 | 288996341012.3712 | 319154174050.3571 | 348152090433.0356 | 376034702339.4572 | 402844906095.6321 | 428623948168.877 | 453411488623.9202 | 477245662138.3848 | 500163136671.524 | 522199169876.4654 | 543387663342.7552 | 563761214752.6492 | 583351168031.3934 | 602187661568.6477 | 620299674585.2382 | 637715071716.5751 | 654460645881.3223 | 670562159501.2715
Salvage Value | 41273076923.0769 | 39685650887.574 | 38159279699.5903 | 36691615095.7599 | 35280399130.5384 | 33923460702.4408 | 32618712213.8854 | 31364146359.5052 | 30157833037.9857 | 28997916382.6786 | 27882611906.4217 | 26810203756.1747 | 25779042073.2449 | 24787540455.0432 | 23834173514.4646 | 22917474533.139 | 22036033204.9414 | 21188493466.2898 | 20373551409.894 | 19589953278.7443 | 18836493537.2541 | 18112013016.5905 | 17415397131.337 | 16745574164.7471 | 16101513619.9491
Future Cash Flow | 82546153846.1539 | 120644378698.225 | 157277287209.8316 | 192501237701.7613 | 226370420867.0783 | 258936943141.4214 | 290250906866.7512 | 320360487371.8763 | 349312007088.3428 | 377150006815.7142 | 403917314245.8789 | 429655109851.8069 | 454402990242.1219 | 478199029078.9634 | 501079835652.8494 | 523080611204.663 | 544235203081.4068 | 564576156809.0449 | 584134766162.5432 | 602941121310.1377 | 621024155105.9019 | 638411687601.8286 | 655130468847.9121 | 671206220046.0693 | 686663673121.2206
Operating Cost | 12250310382.2408 | 24029454980.5492 | 35355555555.8456 | 46246036878.2462 | 56717653534.4006 | 66786515703.7797 | 76468113943.5674 | 85777343020.2863 | 94728524824.8237 | 103335430406.1097 | 111611301157.3462 | 119568869187.3813 | 127220376908.569 | 134577595871.2493 | 141651844873.8266 | 148454007376.3048 | 154994548244.0723 | 161283529847.6949 | 167330627543.4858 | 173145144558.6693 | 178736026304.0382 | 184111874136.1236 | 189280958590.0519 | 194251232103.4445 | 199030341250.9374
Total Capital Cost | 147938789599.1158 | 159717934197.4242 | 171044034772.7206 | 181934516095.1212 | 192406132751.2756 | 202474994920.6547 | 212156593160.4424 | 221465822237.1613 | 230417004041.6987 | 239023909622.9847 | 247299780374.2212 | 255257348404.2563 | 262908856125.444 | 270266075088.1243 | 277340324090.7017 | 284142486593.1798 | 290683027460.9473 | 296972009064.5698 | 303019106760.3608 | 308833623775.5443 | 314424505520.9132 | 319800353352.9987 | 324969437806.9269 | 329939711320.3195 | 334718820467.8124
| Units | Total Capital Cost | Future Cash Flow
| 1 | 147938789599.1158 | 82546153846.1539
| 2 | 159717934197.4242 | 120644378698.225
| 3 | 171044034772.7206 | 157277287209.8316
| 4 | 181934516095.1212 | 192501237701.7613
| 5 | 192406132751.2756 | 226370420867.0783
| 6 | 202474994920.6547 | 258936943141.4214
| 7 | 212156593160.4424 | 290250906866.7512
| 8 | 221465822237.1613 | 320360487371.8763
| 9 | 230417004041.6987 | 349312007088.3428
| 10 | 239023909622.9847 | 377150006815.7142
| 11 | 247299780374.2212 | 403917314245.8789
| 12 | 255257348404.2563 | 429655109851.8069
| 13 | 262908856125.444 | 454402990242.1219
| 14 | 270266075088.1243 | 478199029078.9634
| 15 | 277340324090.7017 | 501079835652.8494
| 16 | 284142486593.1798 | 523080611204.663
| 17 | 290683027460.9473 | 544235203081.4068
| 18 | 296972009064.5698 | 564576156809.0449
| 19 | 303019106760.3608 | 584134766162.5432
| 20 | 308833623775.5443 | 602941121310.1377
| 21 | 314424505520.9132 | 621024155105.9019
| 22 | 319800353352.9987 | 638411687601.8286
| 23 | 324969437806.9269 | 655130468847.9121
| 24 | 329939711320.3195 | 671206220046.0693
| 25 | 334718820467.8124 | 686663673121.2206
CASE 3. DROP OF FUEL PRICE BY 10%
Initial Cost | 135688479216.875
Annual Revenue | 42924000000
roi | 0.04
Operating Expenditures | 11399236187.264
n = | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Future Revenue | 41273076923.077 | 80958727810.651 | 119118007510.2413 | 155809622606.0013 | 191090021736.5399 | 225013482438.9806 | 257632194652.8658 | 288996341012.3712 | 319154174050.3571 | 348152090433.0356 | 376034702339.4572 | 402844906095.6321 | 428623948168.877 | 453411488623.9202 | 477245662138.3848 | 500163136671.524 | 522199169876.4654 | 543387663342.7552 | 563761214752.6492 | 583351168031.3934 | 602187661568.6477 | 620299674585.2382 | 637715071716.5751 | 654460645881.3223 | 670562159501.2715
Salvage Value | 41273076923.0769 | 39685650887.574 | 38159279699.5903 | 36691615095.7599 | 35280399130.5384 | 33923460702.4408 | 32618712213.8854 | 31364146359.5052 | 30157833037.9857 | 28997916382.6786 | 27882611906.4217 | 26810203756.1747 | 25779042073.2449 | 24787540455.0432 | 23834173514.4646 | 22917474533.139 | 22036033204.9414 | 21188493466.2898 | 20373551409.894 | 19589953278.7443 | 18836493537.2541 | 18112013016.5905 | 17415397131.337 | 16745574164.7471 | 16101513619.9491
Future Cash Flow | 82546153846.1539 | 120644378698.225 | 157277287209.8316 | 192501237701.7613 | 226370420867.0783 | 258936943141.4214 | 290250906866.7512 | 320360487371.8763 | 349312007088.3428 | 377150006815.7142 | 403917314245.8789 | 429655109851.8069 | 454402990242.1219 | 478199029078.9634 | 501079835652.8494 | 523080611204.663 | 544235203081.4068 | 564576156809.0449 | 584134766162.5432 | 602941121310.1377 | 621024155105.9019 | 638411687601.8286 | 655130468847.9121 | 671206220046.0693 | 686663673121.2206
Operating Cost | 10960804026.2154 | 21500038666.8071 | 31633918128.9145 | 41378032996.3255 | 50747374214.99 | 59756356156.0134 | 68418838791.6129 | 76748149018.1509 | 84757101159.0528 | 92458016679.1508 | 99862743140.7834 | 106982672430.8149 | 113828758286.6143 | 120411533147.9599 | 126741124360.7922 | 132827269757.7464 | 138679332639.4331 | 144306316179.5164 | 149716877275.7504 | 154919339868.2831 | 159921707745.7184 | 164731676858.6369 | 169356647159.5201 | 173803733987.2924 | 178079779013.9966
Total Capital Cost | 146649283243.0904 | 157188517883.6821 | 167322397345.7895 | 177066512213.2005 | 186435853431.865 | 195444835372.8884 | 204107318008.4879 | 212436628235.0259 | 220445580375.9278 | 228146495896.0258 | 235551222357.6584 | 242671151647.6899 | 249517237503.4893 | 256100012364.8349 | 262429603577.6672 | 268515748974.6214 | 274367811856.3081 | 279994795396.3914 | 285405356492.6254 | 290607819085.1581 | 295610186962.5934 | 300420156075.5119 | 305045126376.3951 | 309492213204.1674 | 313768258230.8716
| Units | Total Capital Cost | Future Cash Flow
| 1 | 146649283243.0904 | 82546153846.1539
| 2 | 157188517883.6821 | 120644378698.225
| 3 | 167322397345.7895 | 157277287209.8316
| 4 | 177066512213.2005 | 192501237701.7613
| 5 | 186435853431.865 | 226370420867.0783
| 6 | 195444835372.8884 | 258936943141.4214
| 7 | 204107318008.4879 | 290250906866.7512
| 8 | 212436628235.0259 | 320360487371.8763
| 9 | 220445580375.9278 | 349312007088.3428
| 10 | 228146495896.0258 | 377150006815.7142
| 11 | 235551222357.6584 | 403917314245.8789
| 12 | 242671151647.6899 | 429655109851.8069
| 13 | 249517237503.4893 | 454402990242.1219
| 14 | 256100012364.8349 | 478199029078.9634
| 15 | 262429603577.6672 | 501079835652.8494
| 16 | 268515748974.6214 | 523080611204.663
| 17 | 274367811856.3081 | 544235203081.4068
| 18 | 279994795396.3914 | 564576156809.0449
| 19 | 285405356492.6254 | 584134766162.5432
| 20 | 290607819085.1581 | 602941121310.1377
| 21 | 295610186962.5934 | 621024155105.9019
| 22 | 300420156075.5119 | 638411687601.8286
| 23 | 305045126376.3951 | 655130468847.9121
| 24 | 309492213204.1674 | 671206220046.0693
| 25 | 313768258230.8716 | 686663673121.2206

## CASE 3 US
Equipment (US) |  |  |  |  | Capital Expenditures |  |  |  |  | Depreciation | [9 empty] | Sensitivity Analysis
| price ($) | unit | total | price (Php) | Equipment Cost |  | 74605257247.5 | service facilities cost | 1961885730.0031 |  | BookValue |  | Depreciation Rate | Salvage Value |  | Service Life | Depreciation |  |  |  | Power Generation -10% | Increase Fuel Price 10% | Decrease Fuel Price 10%
Boiler | 699000000 | 1 | 699000000 | 35474250000 | Miscellaneous Cost | 0.1 | 7460525724.75 | auxilliary cost | 2615847640.0042 | Equipment Cost | 74605257247.5 |  | 0.04 | 2984210289.9 |  | 25 | 2864841878.304 |  |  | Revenue | 35541072000 | 42924000000 | 42924000000
Low Pressure Turbine | 88040000 | 1 | 88040000 | 4468030000 | Building Cost | 0.33 | 24619734891.675 |  |  | Instrumentation & Cost | 14921051449.5 |  | 0.04 | 596842057.98 |  | 25 | 572968375.6608 |  |  | Operating Cost | 4935813478.5528 | 15926925370.0084 | 10528786751.0169
High Pressure Turbine | 81486200 | 1 | 81486200 | 4135424650 | Electrical Cost | 0.2 | 14921051449.5 |  |  | Service Facilities | 1961885730.0031 |  | 0.04 | 78475429.2001 |  | 25 | 75336412.0321 |  |  | Total Revenue | 30605258521.4472 | 26997074629.9916 | 32395213248.9831
Double Flow Turbine | 276269530 | 1 | 276269530 | 14020678647.5 | Excavation and Foundation Cost | 0.15 | 75431634.375 | Note |  | Capital Cost | 137105929959.8 |  | 0.04 | 5484237198.392 |  | 25 | 5264867710.4563
Condenser | 154000000 | 1 | 154000000 | 7815500000 | Land Cost (1250/m2) |  | 502877562.5 | Capacity (kW) | 500000 | Miscellaneous | 7460525724.75 |  | 0.04 | 298421028.99 |  | 25 | 286484187.8304 |  |  | Particular | Change | Net Income After Tax | ENPV | EIRR
Deaerator | 10902000 | 1 | 10902000 | 553276500 | Instrumentation and Control | 0.2 | 14921051449.5 | Electricity cost per kWh | 9.8 | [6 empty] | Total | 9064498564.2836 |  |  | Base Case |  | PHP | PHP | %
Closed FW Heater | 9508000 | 7 | 66556000 | 3377717000 |  | total | 137105929959.8 | heat rate (kJ/kWh) | 9725.6684 | [10 empty] | Construction Delay | 1 year | 31152685619.9812 | 313926859667.8684 | 3.3691
Pump | 15000000 | 3 | 45000000 | 2283750000 | [5 empty] | ROI | [9 empty] | Reduce of Power Generation by 10% | 10% | 30605258521.4472 | 308410414888.8785 | 3.2959
Generator | 48800600 | 1 | 48800600 | 2476630450 | [5 empty] | Year |  | Period |  |  | TCL |  | Net Income After Tax |  | ROI | Increase of Fuel Price by 10% | 10% | 26997074629.9916 | 272050601421.5502 | 2.7788
|  |  | total | 74605257247.5 | Annual Operating Expenditures |  |  | Heat rate KJ/MW-hr | 9725668.4242 | 2022 |  | 2 |  |  | 137105929959.8 |  | 31152685619.9812 |  | 22.72% | Drop of Fuel Price by 10% | 10% | 32395213248.9831 | 326447860309.0771 | 3.531
[5 empty] | Fuel Cost |  | 6539619100.0105 | Coal price ($) | 0.068 | 2023 |  | 3 |  |  | 105953244339.8188 |  | 31152685619.9812 |  | 29.4%
[5 empty] | Labor | 0.2 | 1307923820.0021 | Coal price (Php) | 3.451 | 2024 |  | 4 |  |  | 74800558719.8377 |  | 31152685619.9812 |  | 41.65% | Break Even
[5 empty] | Maintenance and Repair | 0.2 | 1307923820.0021 | HHV kJ/kg | 22479.4704 | 2025 |  | 5 |  |  | 43647873099.8565 |  | 31152685619.9812 |  | 71.37% | Annual Equipment Cost | Annual Capital Cost | Equivalent Total Annual Cost | Equivalent Total Annual Benefit | Unit Generated To Break Even (MW)
[5 empty] | Supervision | 0.2 | 1307923820.0021 | Fuel Cost | 6539619100.0105 | 2045 |  | 25 |  |  | -579405839299.7665 |  | 31152685619.9812 |  | 5.377% | 2750248203.1718 | 5054273002.0381 | 19575835585.2288 | 42924000000 | 228.029
[5 empty] | Supplies | 0.1 | 653961910.001 | Annual Revenue | 42924000000 | [8 empty] | Average | 34.1%
[5 empty] | Operating Taxes | 0.1 | 653961910.001 | Revenue | 523581660546.3251 | [12 empty] | Total equity | 23348164414.7712
[6 empty] | total | 11771314380.0188 | Annual Depreciation | 4935813478.5528 | Payback Period | [9 empty] | For Power Generation - 10% |  | Total loan | 8952630869.7
[10 empty] | Year |  | Net Income After Tax |  |  |  | TCL | Depreciation |  |  | Design | 450 | DSCR | 3.4797
[10 empty] | 2022 |  | 31152685619.9812 |  |  |  | 137105929959.8 | 128041431395.5164
[10 empty] | 2023 |  | 31152685619.9812 |  |  |  | 105953244339.8188 | 118976932831.2327
[10 empty] | 2024 |  | 31152685619.9812 |  |  |  | 74800558719.8377 | 109912434266.9491
[10 empty] | 2025 |  | 31152685619.9812 |  |  |  | 43647873099.8565 | 100847935702.6654
[10 empty] | Average |  | 31152685619.9812 |  |  |  | 90376901529.8283 | 114444683549.0909
[10 empty] | Payback Period | [5 empty] | 4.4011

## CASE 3 CHI
Equipment (CHI) |  |  |  |  | Capital Expenditures |  |  |  |  | Depreciation | [9 empty] | Sensitivity Analysis
| price ($) | unit | total | price (Php) | Equipment Cost |  | 74324187000 | service facilities cost | 1961885730.0031 |  | BookValue |  | Depreciation Rate | Salvage Value |  | Service Life | Depreciation |  |  |  | Power Generation -10% | Increase Fuel Price 10% | Decrease Fuel Price 10%
Boiler | 699700000 | 1 | 699700000 | 35509775000 | Miscellaneous Cost | 0.1 | 7432418700 | auxilliary cost | 2615847640.0042 | Equipment Cost | 74324187000 |  | 0.04 | 2972967480 |  | 25 | 2854048780.8 |  |  | Revenue | 35541072000 | 42924000000 | 42924000000
Low Pressure Turbine | 87060000 | 1 | 87060000 | 4418295000 | Building Cost | 0.33 | 24526981710 |  |  | Instrumentation & Cost | 14864837400 |  | 0.04 | 594593496 |  | 25 | 570809756.16 |  |  | Operating Cost | 4917296570.6475 | 15926925370.0084 | 10528786751.0169
High Pressure Turbine | 80000000 | 1 | 80000000 | 4060000000 | Electrical Cost | 0.2 | 14864837400 |  |  | Service Facilities | 1961885730.0031 |  | 0.04 | 78475429.2001 |  | 25 | 75336412.0321 |  |  | Total Revenue | 30623775429.3525 | 26997074629.9916 | 32395213248.9831
Double Flow Turbine | 280560000 | 1 | 280560000 | 14238420000 | Excavation and Foundation Cost | 0.15 | 75431634.375 | Note |  | Capital Cost | 136591571406.875 |  | 0.04 | 5463662856.275 |  | 25 | 5245116342.024
Condenser | 150200000 | 1 | 150200000 | 7622650000 | Land Cost (1250/m2) |  | 502877562.5 | Capacity (kW) | 500000 | Miscellaneous | 7432418700 |  | 0.04 | 297296748 |  | 25 | 285404878.08 |  |  | Particular | Change | Net Income After Tax | ENPV | EIRR
Deaerator | 10800000 | 1 | 10800000 | 548100000 | Instrumentation and Control | 0.2 | 14864837400 | Electricity cost per kWh | 9.8 | [6 empty] | Total | 9030716169.0961 |  |  | Base Case |  | PHP | PHP | %
Closed FW Heater | 9050000 | 7 | 63350000 | 3215012500 |  | total | 136591571406.875 | heat rate (kJ/kWh) | 9725.6684 | [10 empty] | Construction Delay | 1 year | 31152685619.9812 | 313926859667.8684 | 3.3847
Pump | 14900000 | 3 | 44700000 | 2268525000 | [5 empty] | ROI | [9 empty] | Reduce of Power Generation by 10% | 10% | 30623775429.3525 | 308597010510.8541 | 3.3139
Generator | 48146000 | 1 | 48146000 | 2443409500 | [5 empty] | Year |  | Period |  |  | TCL |  | Net Income After Tax |  | ROI | Increase of Fuel Price by 10% | 10% | 26997074629.9916 | 272050601421.5502 | 2.7943
|  |  | total | 74324187000 | Annual Operating Expenditures |  |  | Heat rate KJ/MW-hr | 9725668.4242 | 2022 |  | 2 |  |  | 136591571406.875 |  | 31152685619.9812 |  | 22.81% | Drop of Fuel Price by 10% | 10% | 32395213248.9831 | 326447860309.0771 | 3.5465
[5 empty] | Fuel Cost |  | 6539619100.0105 | Coal price ($) | 0.068 | 2023 |  | 3 |  |  | 105438885786.8938 |  | 31152685619.9812 |  | 29.55%
[5 empty] | Labor | 0.2 | 1307923820.0021 | Coal price (Php) | 3.451 | 2024 |  | 4 |  |  | 74286200166.9127 |  | 31152685619.9812 |  | 41.94% | Break Even
[5 empty] | Maintenance and Repair | 0.2 | 1307923820.0021 | HHV kJ/kg | 22479.4704 | 2025 |  | 5 |  |  | 43133514546.9315 |  | 31152685619.9812 |  | 72.22% | Annual Equipment Cost | Annual Capital Cost | Equivalent Total Annual Cost | Equivalent Total Annual Benefit | Unit Generated To Break Even (MW)
[5 empty] | Supervision | 0.2 | 1307923820.0021 | Fuel Cost | 6539619100.0105 | 2045 |  | 25 |  |  | -579920197852.6915 |  | 31152685619.9812 |  | 5.372% | 2739886829.568 | 5035311688.343 | 19546512897.9299 | 42924000000 | 227.6875
[5 empty] | Supplies | 0.1 | 653961910.001 | Annual Revenue | 42924000000 | [8 empty] | Average | 34.38%
[5 empty] | Operating Taxes | 0.1 | 653961910.001 | Revenue | 523581660546.3251 | [13 empty] | total equity | 23377487102.0701
[6 empty] | total | 11771314380.0188 | Annual Depreciation | 4917296570.6475 | Payback Period | [9 empty] | For Power Generation - 10% |  |  | total loan | 8918902440
[10 empty] | Year |  | Net Income After Tax |  |  |  | TCL | Depreciation |  |  | Design | 450 |  | DSCR | 3.4929
[10 empty] | 2022 |  | 31152685619.9812 |  |  |  | 136591571406.875 | 127560855237.7789
[10 empty] | 2023 |  | 31152685619.9812 |  |  |  | 105438885786.8938 | 118530139068.6828
[10 empty] | 2024 |  | 31152685619.9812 |  |  |  | 74286200166.9127 | 109499422899.5867
[10 empty] | 2025 |  | 31152685619.9812 |  |  |  | 43133514546.9315 | 100468706730.4905
[10 empty] | Average |  | 31152685619.9812 |  |  |  | 89862542976.9033 | 114014780984.1347
[10 empty] | Payback Period | [5 empty] | 4.3846

## CASE 3 EU
Equipment (EU) |  |  |  |  | Capital Expenditures |  |  |  |  | Depreciation | [10 empty] | Sensitivity Analysis
| price ($) | unit | total | price (Php) | Equipment Cost |  | 74751908000 | service facilities cost | 1961885730.0031 |  | BookValue |  | Depreciation Rate | Salvage Value |  | Service Life | Depreciation |  |  |  |  | Power Generation -10% | Increase Fuel Price 10% | Decrease Fuel Price 10%
Boiler | 700586000 | 1 | 700586000 | 35554739500 | Miscellaneous Cost | 0.1 | 7475190800 | auxilliary cost | 2615847640.0042 | Equipment Cost | 74751908000 |  | 0.04 | 2990076320 |  | 25 | 2870473267.2 |  |  |  | Revenue | 35541072000 | 42924000000 | 42924000000
Low Pressure Turbine | 90700000 | 1 | 90700000 | 4603025000 | Building Cost | 0.33 | 24668129640 |  |  | Instrumentation & Cost | 14950381600 |  | 0.04 | 598015264 |  | 25 | 574094653.44 |  |  |  | Operating Cost | 5220223431.8013 | 15926925370.0084 | 10528786751.0169
High Pressure Turbine | 80920000 | 1 | 80920000 | 4106690000 | Electrical Cost | 0.2 | 14950381600 |  |  | Service Facilities | 1961885730.0031 |  | 0.04 | 78475429.2001 |  | 25 | 75336412.0321 |  |  |  | Total Revenue | 30320848568.1987 | 26997074629.9916 | 32395213248.9831
Double Flow Turbine | 280750000 | 1 | 280750000 | 14248062500 | Excavation and Foundation Cost | 0.15 | 75431634.375 | Note |  | Capital Cost | 137374300836.875 |  | 0.04 | 5494972033.475 |  | 25 | 5275173152.136
Condenser | 150500000 | 1 | 150500000 | 7637875000 | Land Cost (1250/m2) |  | 502877562.5 | Capacity (kW) | 500000 | Miscellaneous | 7475190800 |  | 0.04 | 299007632 |  | 25 | 287047326.72 |  |  |  | Particular | Change | Net Income After Tax | ENPV | EIRR
Deaerator | 11056000 | 1 | 11056000 | 561092000 | Instrumentation and Control | 0.2 | 14950381600 | Electricity cost per kWh | 9.8 | [6 empty] | Total | 9082124811.5281 |  |  |  | Base Case |  | PHP | PHP | %
Closed FW Heater | 9076000 | 7 | 63532000 | 3224249000 |  | total | 137374300836.875 | heat rate (kJ/kWh) | 9725.6684 | [11 empty] | Construction Delay | 1 year | 31152685619.9812 | 470216909831.4152 | 5.0451
Pump | 15500000 | 3 | 46500000 | 2359875000 | [5 empty] | ROI | [10 empty] | Reduce of Power Generation by 10% | 10% | 30320848568.1987 | 457661207483.8295 | 4.9314
Generator | 48400000 | 1 | 48400000 | 2456300000 | [5 empty] | Year |  | Period |  |  | TCL |  | Net Income After Tax |  | ROI |  | Increase of Fuel Price by 10% | 10% | 26997074629.9916 | 407492347910.4669 | 4.4452
|  |  | total | 74751908000 | Annual Operating Expenditures |  |  | Heat rate KJ/MW-hr | 9725668.4242 | 2022 |  | 2 |  |  | 137374300836.875 |  | 31152685619.9812 |  | 22.68% | 114405075628.632 | Drop of Fuel Price by 10% | 10% | 32395213248.9831 | 488971552985.3503 | 5.2095
[5 empty] | Fuel Cost |  | 6539619100.0105 | Coal price ($) | 0.068 | 2023 |  | 3 |  |  | 106221615216.8938 |  | 31152685619.9812 |  | 29.33% | 105677955070.5173
[5 empty] | Labor | 0.2 | 1307923820.0021 | Coal price (Php) | 3.451 | 2024 |  | 4 |  |  | 75068929596.9127 |  | 31152685619.9812 |  | 41.5% | 82801443016.6285 | Break Even
[5 empty] | Maintenance and Repair | 0.2 | 1307923820.0021 | HHV kJ/kg | 22479.4704 | 2025 |  | 5 |  |  | 43916243976.9315 |  | 31152685619.9812 |  | 70.94% | 64877097224.8754 | Annual Equipment Cost | Annual Capital Cost | Equivalent Total Annual Cost | Equivalent Total Annual Benefit | Unit Generated To Break Even (MW)
[5 empty] | Supervision | 0.2 | 1307923820.0021 | Fuel Cost | 6539619100.0105 | 2045 |  | 25 |  |  | -579137468422.6915 |  | 31152685619.9812 |  | 5.379% | 50832903280.2082 | 2755654336.512 | 5064166226.0506 | 19591134942.5814 | 42924000000 | 228.2072
[5 empty] | Supplies | 0.1 | 653961910.001 | Annual Revenue | 42924000000 | [8 empty] | Average | 33.96% | 418594474220.8613
[5 empty] | Operating Taxes | 0.1 | 653961910.001 | Revenue | 523581660546.3251 | [13 empty] | total equity | 23332865057.4186
[6 empty] | total | 11771314380.0188 | Annual Depreciation | 5220223431.8013 | Payback Period | [10 empty] | For Power Generation - 10% |  | total loan | 8970228960
[10 empty] | Year |  | Net Income After Tax |  |  |  | TCL | Depreciation |  |  |  | Design | 450 | DSCR | 3.4729
[7 empty] | 653961910.001 |  |  | 2022 |  | 31152685619.9812 |  |  |  | 137374300836.875 | 128292176025.3469
[7 empty] | 7193581010.0115 |  |  | 2023 |  | 31152685619.9812 |  |  |  | 106221615216.8938 | 119210051213.8188
[7 empty] | 12425276290.0199 |  |  | 2024 |  | 31152685619.9812 |  |  |  | 75068929596.9127 | 110127926402.2906
[7 empty] | 5885657190.0094 |  |  | 2025 |  | 31152685619.9812 |  |  |  | 43916243976.9315 | 101045801590.7625
[7 empty] | 11117352470.0178 |  |  | Average |  | 31152685619.9812 |  |  |  | 90645272406.9033 | 114668988808.0547
[10 empty] | Payback Period | [5 empty] | 4.4097

## CASE 3 Graph
CASE 1. REDUCTION OF POWER GENERATION BY 10%
Initial Cost | 137374300836.875
Annual Revenue | 38631600000
roi | 0.04
Operating Expenditures | 11771314380.0188
n = | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Future Revenue | 37145769230.7693 | 72862855029.5859 | 107206206759.2171 | 140228660345.4012 | 171981019562.8859 | 202512134195.0826 | 231868975187.5793 | 260096706911.1341 | 287238756645.3214 | 313336881389.7321 | 338431232105.5115 | 362560415486.0689 | 385761553351.9893 | 408070339761.5281 | 429521095924.5464 | 450146823004.3716 | 469979252888.8188 | 489048897008.4797 | 507385093277.3843 | 525016051228.2542 | 541968895411.783 | 558269707126.7144 | 573943564544.9176 | 589014581293.1901 | 603505943551.1443
Salvage Value | 37145769230.7692 | 35717085798.8166 | 34343351729.6313 | 33022453586.184 | 31752359217.4846 | 30531114632.1967 | 29356840992.4968 | 28227731723.5546 | 27142049734.1871 | 26098124744.4107 | 25094350715.7795 | 24129183380.5572 | 23201137865.9204 | 22308786409.5389 | 21450756163.0181 | 20625727079.8251 | 19832429884.4472 | 19069644119.6608 | 18336196268.9046 | 17630957950.8698 | 16952844183.5287 | 16300811714.9314 | 15673857418.2033 | 15071016748.2724 | 14491362257.9542
Future Cash Flow | 74291538461.5385 | 108579940828.4025 | 141549558488.8484 | 173251113931.5851 | 203733378780.3705 | 233043248827.2792 | 261225816180.0761 | 288324438634.6887 | 314380806379.5085 | 339435006134.1428 | 363525582821.291 | 386689598866.6262 | 408962691217.9097 | 430379126171.067 | 450971852087.5645 | 470772550084.1967 | 489811682773.2661 | 508118541128.1405 | 525721289546.2889 | 542647009179.124 | 558921739595.3116 | 574570518841.6458 | 589617421963.1208 | 604085598041.4624 | 617997305809.0985
Operating Cost | 11318571519.2489 | 22201813364.6805 | 32666468985.2879 | 42728637851.2565 | 52403800222.3802 | 61706840963.8452 | 70652072446.0231 | 79253256563.5019 | 87523625907.2315 | 95475904122.3561 | 103122325483.0528 | 110474653714.492 | 117544200090.8759 | 124341840837.3987 | 130878033862.9015 | 137162834848.9619 | 143205912720.1738 | 149016564519.416 | 154603729710.9951 | 159976003933.6672 | 165141652224.6982 | 170108621735.3048 | 174884553957.042 | 179476796477.9431 | 183892414286.5019
Total Capital Cost | 148692872356.1239 | 159576114201.5555 | 170040769822.1628 | 180102938688.1315 | 189778101059.2552 | 199081141800.7202 | 208026373282.8981 | 216627557400.3769 | 224897926744.1065 | 232850204959.2311 | 240496626319.9278 | 247848954551.367 | 254918500927.7509 | 261716141674.2737 | 268252334699.7766 | 274537135685.8369 | 280580213557.0488 | 286390865356.291 | 291978030547.8701 | 297350304770.5422 | 302515953061.5732 | 307482922572.1798 | 312258854793.917 | 316851097314.8181 | 321266715123.377
| Units | Total Capital Cost | Future Cash Flow
| 1 | 148692872356.1239 | 74291538461.5385
| 2 | 159576114201.5555 | 108579940828.4025
| 3 | 170040769822.1628 | 141549558488.8484
| 4 | 180102938688.1315 | 173251113931.5851
| 5 | 189778101059.2552 | 203733378780.3705
| 6 | 199081141800.7202 | 233043248827.2792
| 7 | 208026373282.8981 | 261225816180.0761
| 8 | 216627557400.3769 | 288324438634.6887
| 9 | 224897926744.1065 | 314380806379.5085
| 10 | 232850204959.2311 | 339435006134.1428
| 11 | 240496626319.9278 | 363525582821.291
| 12 | 247848954551.367 | 386689598866.6262
| 13 | 254918500927.7509 | 408962691217.9097
| 14 | 261716141674.2737 | 430379126171.067
| 15 | 268252334699.7766 | 450971852087.5645
| 16 | 274537135685.8369 | 470772550084.1967
| 17 | 280580213557.0488 | 489811682773.2661
| 18 | 286390865356.291 | 508118541128.1405
| 19 | 291978030547.8701 | 525721289546.2889
| 20 | 297350304770.5422 | 542647009179.124
| 21 | 302515953061.5732 | 558921739595.3116
| 22 | 307482922572.1798 | 574570518841.6458
| 23 | 312258854793.917 | 589617421963.1208
| 24 | 316851097314.8181 | 604085598041.4624
| 25 | 321266715123.377 | 617997305809.0985
CASE 2. INCREASE OF FUEL PRICE BY 10%
Initial Cost | 137374300836.875
Annual Revenue | 42924000000
roi | 0.04
Operating Expenditures | 12425276290.0199
n = | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Future Revenue | 41273076923.077 | 80958727810.651 | 119118007510.2413 | 155809622606.0013 | 191090021736.5399 | 225013482438.9806 | 257632194652.8658 | 288996341012.3712 | 319154174050.3571 | 348152090433.0356 | 376034702339.4572 | 402844906095.6321 | 428623948168.877 | 453411488623.9202 | 477245662138.3848 | 500163136671.524 | 522199169876.4654 | 543387663342.7552 | 563761214752.6492 | 583351168031.3934 | 602187661568.6477 | 620299674585.2382 | 637715071716.5751 | 654460645881.3223 | 670562159501.2715
Salvage Value | 41273076923.0769 | 39685650887.574 | 38159279699.5903 | 36691615095.7599 | 35280399130.5384 | 33923460702.4408 | 32618712213.8854 | 31364146359.5052 | 30157833037.9857 | 28997916382.6786 | 27882611906.4217 | 26810203756.1747 | 25779042073.2449 | 24787540455.0432 | 23834173514.4646 | 22917474533.139 | 22036033204.9414 | 21188493466.2898 | 20373551409.894 | 19589953278.7443 | 18836493537.2541 | 18112013016.5905 | 17415397131.337 | 16745574164.7471 | 16101513619.9491
Future Cash Flow | 82546153846.1539 | 120644378698.225 | 157277287209.8316 | 192501237701.7613 | 226370420867.0783 | 258936943141.4214 | 290250906866.7512 | 320360487371.8763 | 349312007088.3428 | 377150006815.7142 | 403917314245.8789 | 429655109851.8069 | 454402990242.1219 | 478199029078.9634 | 501079835652.8494 | 523080611204.663 | 544235203081.4068 | 564576156809.0449 | 584134766162.5432 | 602941121310.1377 | 621024155105.9019 | 638411687601.8286 | 655130468847.9121 | 671206220046.0693 | 686663673121.2206
Operating Cost | 11947381048.0961 | 23435247440.4961 | 34481272817.8038 | 45102451065.2152 | 55315122456.9568 | 65134998795.1699 | 74577187581.9132 | 83656215261.4742 | 92386049568.7444 | 100780121018.0426 | 108851343565.4446 | 116612134476.4083 | 124074433429.2578 | 131249720883.9209 | 138149035744.1739 | 144782992340.5709 | 151161796760.1835 | 157295262548.2725 | 163192825806.0504 | 168863559707.7599 | 174316188459.4037 | 179559100720.5995 | 184600362510.211 | 189447729615.6067 | 194108659524.6409
Total Capital Cost | 149321681884.9711 | 160809548277.3711 | 171855573654.6788 | 182476751902.0902 | 192689423293.8318 | 202509299632.0449 | 211951488418.7882 | 221030516098.3492 | 229760350405.6194 | 238154421854.9175 | 246225644402.3196 | 253986435313.2833 | 261448734266.1328 | 268624021720.7959 | 275523336581.0488 | 282157293177.4459 | 288536097597.0585 | 294669563385.1475 | 300567126642.9254 | 306237860544.6349 | 311690489296.2787 | 316933401557.4745 | 321974663347.086 | 326822030452.4817 | 331482960361.5159
| Units | Total Capital Cost | Future Cash Flow
| 1 | 149321681884.9711 | 82546153846.1539
| 2 | 160809548277.3711 | 120644378698.225
| 3 | 171855573654.6788 | 157277287209.8316
| 4 | 182476751902.0902 | 192501237701.7613
| 5 | 192689423293.8318 | 226370420867.0783
| 6 | 202509299632.0449 | 258936943141.4214
| 7 | 211951488418.7882 | 290250906866.7512
| 8 | 221030516098.3492 | 320360487371.8763
| 9 | 229760350405.6194 | 349312007088.3428
| 10 | 238154421854.9175 | 377150006815.7142
| 11 | 246225644402.3196 | 403917314245.8789
| 12 | 253986435313.2833 | 429655109851.8069
| 13 | 261448734266.1328 | 454402990242.1219
| 14 | 268624021720.7959 | 478199029078.9634
| 15 | 275523336581.0488 | 501079835652.8494
| 16 | 282157293177.4459 | 523080611204.663
| 17 | 288536097597.0585 | 544235203081.4068
| 18 | 294669563385.1475 | 564576156809.0449
| 19 | 300567126642.9254 | 584134766162.5432
| 20 | 306237860544.6349 | 602941121310.1377
| 21 | 311690489296.2787 | 621024155105.9019
| 22 | 316933401557.4745 | 638411687601.8286
| 23 | 321974663347.086 | 655130468847.9121
| 24 | 326822030452.4817 | 671206220046.0693
| 25 | 331482960361.5159 | 686663673121.2206
CASE 3. DROP OF FUEL PRICE BY 10%
Initial Cost | 137374300836.875
Annual Revenue | 42924000000
roi | 0.04
Operating Expenditures | 11117352470.0178
n = | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Future Revenue | 41273076923.077 | 80958727810.651 | 119118007510.2413 | 155809622606.0013 | 191090021736.5399 | 225013482438.9806 | 257632194652.8658 | 288996341012.3712 | 319154174050.3571 | 348152090433.0356 | 376034702339.4572 | 402844906095.6321 | 428623948168.877 | 453411488623.9202 | 477245662138.3848 | 500163136671.524 | 522199169876.4654 | 543387663342.7552 | 563761214752.6492 | 583351168031.3934 | 602187661568.6477 | 620299674585.2382 | 637715071716.5751 | 654460645881.3223 | 670562159501.2715
Salvage Value | 41273076923.0769 | 39685650887.574 | 38159279699.5903 | 36691615095.7599 | 35280399130.5384 | 33923460702.4408 | 32618712213.8854 | 31364146359.5052 | 30157833037.9857 | 28997916382.6786 | 27882611906.4217 | 26810203756.1747 | 25779042073.2449 | 24787540455.0432 | 23834173514.4646 | 22917474533.139 | 22036033204.9414 | 21188493466.2898 | 20373551409.894 | 19589953278.7443 | 18836493537.2541 | 18112013016.5905 | 17415397131.337 | 16745574164.7471 | 16101513619.9491
Future Cash Flow | 82546153846.1539 | 120644378698.225 | 157277287209.8316 | 192501237701.7613 | 226370420867.0783 | 258936943141.4214 | 290250906866.7512 | 320360487371.8763 | 349312007088.3428 | 377150006815.7142 | 403917314245.8789 | 429655109851.8069 | 454402990242.1219 | 478199029078.9634 | 501079835652.8494 | 523080611204.663 | 544235203081.4068 | 564576156809.0449 | 584134766162.5432 | 602941121310.1377 | 621024155105.9019 | 638411687601.8286 | 655130468847.9121 | 671206220046.0693 | 686663673121.2206
Operating Cost | 10689761990.4018 | 20968379288.865 | 30851665152.7719 | 40354824637.2978 | 49492477987.8035 | 58278683132.5205 | 66726957310.1329 | 74850297865.5296 | 82661202245.7187 | 90171687226.6697 | 97393307400.661 | 104337172952.5758 | 111013966752.4939 | 117433960790.8766 | 123607031981.6292 | 129542677357.3529 | 135250028680.1642 | 140737866490.5596 | 146014633615.9398 | 151088448159.5746 | 155967115989.9927 | 160658142750.0101 | 165168745403.873 | 169505863340.2796 | 173676169048.3629
Total Capital Cost | 148064062827.2768 | 158342680125.74 | 168225965989.6469 | 177729125474.1728 | 186866778824.6785 | 195652983969.3954 | 204101258147.0079 | 212224598702.4045 | 220035503082.5937 | 227545988063.5447 | 234767608237.536 | 241711473789.4508 | 248388267589.3689 | 254808261627.7516 | 260981332818.5042 | 266916978194.2279 | 272624329517.0392 | 278112167327.4346 | 283388934452.8148 | 288462748996.4496 | 293341416826.8677 | 298032443586.8851 | 302543046240.748 | 306880164177.1547 | 311050469885.2379
| Units | Total Capital Cost | Future Cash Flow
| 1 | 148064062827.2768 | 82546153846.1539
| 2 | 158342680125.74 | 120644378698.225
| 3 | 168225965989.6469 | 157277287209.8316
| 4 | 177729125474.1728 | 192501237701.7613
| 5 | 186866778824.6785 | 226370420867.0783
| 6 | 195652983969.3954 | 258936943141.4214
| 7 | 204101258147.0079 | 290250906866.7512
| 8 | 212224598702.4045 | 320360487371.8763
| 9 | 220035503082.5937 | 349312007088.3428
| 10 | 227545988063.5447 | 377150006815.7142
| 11 | 234767608237.536 | 403917314245.8789
| 12 | 241711473789.4508 | 429655109851.8069
| 13 | 248388267589.3689 | 454402990242.1219
| 14 | 254808261627.7516 | 478199029078.9634
| 15 | 260981332818.5042 | 501079835652.8494
| 16 | 266916978194.2279 | 523080611204.663
| 17 | 272624329517.0392 | 544235203081.4068
| 18 | 278112167327.4346 | 564576156809.0449
| 19 | 283388934452.8148 | 584134766162.5432
| 20 | 288462748996.4496 | 602941121310.1377
| 21 | 293341416826.8677 | 621024155105.9019
| 22 | 298032443586.8851 | 638411687601.8286
| 23 | 302543046240.748 | 655130468847.9121
| 24 | 306880164177.1547 | 671206220046.0693
| 25 | 311050469885.2379 | 686663673121.2206

## SELECTION
| Equipment | Quantiity | US Equipment |  | Chinese Equipment |  | European Equipment
|  |  | Unit Price |  | Unit Price |  | Unit Price
|  |  | US$ | Php | US$ | Php | US$ | Php
| Boiler | 1 | 699000000 | 35474250000 | 699700000 | 35509775000 | 700586000 | 35554739500
| Low Pressure Turbine | 1 | 88040000 | 4468030000 | 87060000 | 4418295000 | 90700000 | 4603025000
| High Pressure Turbine | 1 | 81486200 | 4135424650 | 80000000 | 4060000000 | 80920000 | 4106690000
| Double Flow Turbine | 1 | 276269530 | 14020678647.5 | 280560000 | 14238420000 | 280750000 | 14248062500
| Condenser | 1 | 154000000 | 7815500000 | 150200000 | 7622650000 | 150500000 | 7637875000
| Deaerator | 1 | 10902000 | 553276500 | 10800000 | 548100000 | 11056000 | 561092000
| Closed FW Heater | 7 | 66556000 | 3377717000 | 63350000 | 3215012500 | 63532000 | 3224249000
| Pump | 3 | 45000000 | 2283750000 | 44700000 | 2268525000 | 46500000 | 2359875000
| Generator | 1 | 48800600 | 2476630450 | 48146000 | 2443409500 | 48400000 | 2456300000
| TOTAL |  |  | 74605257247.5 |  | 74324187000 |  | 74751908000
DESIGN 3
| Installed Capacity | MW | 500
| Capacity Factor |  | 51.39
| Energy | GWh/year | 2250.75
| Cost/KW | Php/kW | 9.8
| Capital Cost | Php | 137374300836.875
| Life | Years | 25
| Discount Rate |  | 0.05
| Capital Recovery Factor |  | 0.070952
| Annual Capacity Cost | Php | 11771314380.0188
| Fixed O&M | Php | 1307923820.0021
| Total Fixed Cost | Php | 5220223431.8013
| Fixed Cost/kWh | Php/kWh | 10440.4469
| Variable Cost/kWh | Php/kWh | 1307.9238
| LCOE | Php/kWh | 4.357
EQUIPMENT SELECTION
|  | Relative Capital Cost | Php/kW | Ave. Efficiency | T1 years | T2 years | O&M
| US Equipment | 74605257247.5 | 9.8 | 42 | 1 | 25 | 1307923820.0021
| Chinese Equipment | 74324187000 | 9.8 | 43 | 1 | 25 | 1307923820.0021
| European Equipment | 74751908000 | 9.8 | 46 | 1 | 25 | 1307923820.0021
|  |  | Chinese Equipment |  | US equipment |  | European equipment
|  |  | (Equipment/Model) |  | (Equipment/Model) |  | (Equipment/Model)
|  |  | PHP | % | PHP | % | PHP | %
| total equity | Php | 23377487102.0701 |  | 23348164414.7712 |  | 23332865057.4186
| total loan | Php | 8918902440 |  | 8952630869.7 |  | 8970228960
| total capital cost | Php | 74324187000 |  | 74605257247.5 |  | 74751908000
|  | Php/kW | 148648.374 |  | 149210.5145 |  | 149503.816
| average generation | GWh | 4200 |  | 4200 |  | 4200
| DSCR, first year | [ ] | 14.5537 |  | 14.4989 |  | 14.4704
| FIRR, | [ ] | 344270287220.8613 |  | 343989216973.3613 |  | 343842566220.8613
|  | Net Income After Tax | 31152685619.9812