## RELATIVE COST O&M
US | 50.75 |  |  |  | China |  |  |  |  | Europe
Equipment | Cost | Unit | Total Cost $ | Total Cost Php | Equipment | Cost | Unit | Total Cost $ | Total Cost Php | Equipment | Cost | Unit | Total Cost $ | Total Cost Php
Boiler | 699000000 | 1 | 699000000 | 35474250000 | Boiler | 699700000 | 1 | 699700000 | 35509775000 | Boiler | 700586000 | 1 | 700586000 | 35554739500
Low Pressure Turbine | 88040000 | 1 | 88040000 | 4468030000 | Low Pressure Turbine | 87060000 | 1 | 87060000 | 4418295000 | Low Pressure Turbine | 90700000 | 1 | 90700000 | 4603025000
High Pressure Turbine | 81486200 | 1 | 81486200 | 4135424650 | High Pressure Turbine | 80000000 | 1 | 80000000 | 4060000000 | High Pressure Turbine | 80920000 | 1 | 80920000 | 4106690000
Double Flow Turbine | 276269530 | 1 | 276269530 | 14020678647.5 | Double Flow Turbine | 280560000 | 1 | 280560000 | 14238420000 | Double Flow Turbine | 280750000 | 1 | 280750000 | 14248062500
Condenser | 154000000 | 1 | 154000000 | 7815500000 | Condenser | 150200000 | 1 | 150200000 | 7622650000 | Condenser | 150500000 | 1 | 150500000 | 7637875000
Deaerator | 10902000 | 1 | 10902000 | 553276500 | Deaerator | 10800000 | 1 | 10800000 | 548100000 | Deaerator | 11056000 | 1 | 11056000 | 561092000
Closed FW Heater | 9508000 | 7 | 66556000 | 3377717000 | Closed FW Heater | 9050000 | 7 | 63350000 | 3215012500 | Closed FW Heater | 9076000 | 7 | 63532000 | 3224249000
Pump | 15000000 | 3 | 45000000 | 2283750000 | Pump | 14900000 | 3 | 44700000 | 2268525000 | Pump | 15500000 | 3 | 46500000 | 2359875000
Generator | 48800600 | 1 | 48800600 | 2476630450 | Generator | 48146000 | 1 | 48146000 | 2443409500 | Generator | 48400000 | 1 | 48400000 | 2456300000
| Total equipment cost |  |  | 74605257247.5 |  | Total Equipment Cost |  |  | 74324187000 |  | Total Equipment Cost |  |  | 74751908000
Total equipment cost |  |  |  | 74605257247.5 | Total equipment cost |  |  |  | 74324187000 | Total equipment cost |  |  |  | 74751908000
Miscellaneous Cost |  |  | 0.1 | 7460525724.75 | Miscellaneous Cost |  |  | 0.1 | 7432418700 | Miscellaneous Cost |  |  | 0.1 | 7475190800
Building Cost |  |  | 0.33 | 24619734891.675 | Building Cost |  |  | 0.33 | 24526981710 | Building Cost |  |  | 0.33 | 24668129640
Electrical Cost |  |  | 0.2 | 14921051449.5 | Electrical Cost |  |  | 0.2 | 14864837400 | Electrical Cost |  |  | 0.2 | 14950381600
Excavation and Foundation |  |  | 0.15 | 75431634.3 | Excavation and Foundation |  |  | 0.15 | 75431634.3 | Excavation and Foundation |  |  | 0.15 | 75431634.3
Land Cost (1250/m2) |  |  |  | 502877562 | Land Cost (1250/m2) |  |  |  | 502877562 | Land Cost (1250/m2) |  |  |  | 502877562
instrumentation and control |  |  | 0.2 | 14921051449.5 | instrumentation and control |  |  | 0.2 | 14864837400 | instrumentation and control |  |  | 0.2 | 14950381600
| Relative Capital Cost |  |  | 137105929959.225 |  | Relative Capital Cost |  |  | 136591571406.3 |  | Relative Capital Cost |  |  | 137374300836.3

## CASE 1
Equipment (EU) |  |  |  |  | Capital Expenditures |  |  |  |  | Depreciation | [9 empty] | Sensitivity Analysis
| price ($) | unit | total | price (Php) | Equipment Cost |  | 73370087000 | service facilities cost | 2043425452.0861 |  | BookValue |  | Depreciation Rate | Salvage Value |  | Service Life | Depreciation |  |  |  | Power Generation -10% | Increase Fuel Price 10% | Decrease Fuel Price 10%
Boiler | 700586000 | 1 | 700586000 | 35554739500 | Miscellaneous Cost | 0.1 | 7337008700 | auxilliary cost | 2724567269.4481 | Equipment Cost | 73370087000 |  | 0.04 | 2934803480 |  | 25 | 2817411340.8 |  |  | Revenue | 35541072000 | 42924000000 | 42924000000
Low Pressure Turbine | 90700000 | 1 | 90700000 | 4603025000 | Building Cost | 0.33 | 24212128710 |  |  | Instrumentation & Cost | 14674017400 |  | 0.04 | 586960696 |  | 25 | 563482268.16 |  |  | Operating Cost | 4854440462.6475 | 16144364628.8961 | 10966383259.5285
High Pressure Turbine | 80920000 | 1 | 80920000 | 4106690000 | Electrical Cost | 0.2 | 14674017400 |  |  | Service Facilities | 2043425452.0861 |  | 0.04 | 81737018.0834 |  | 25 | 78467537.3601 |  |  | Total Revenue | 30686631537.3525 | 26779635371.1039 | 31957616740.4715
Double Flow Turbine | 280750000 | 1 | 280750000 | 14248062500 | Excavation and Foundation Cost | 0.15 | 75431634.375 | Note |  | Capital Cost | 134845568406.875 |  | 0.04 | 5393822736.275 |  | 25 | 5178069826.824
Condenser | 150500000 | 1 | 150500000 | 7637875000 | Land Cost (1250/m2) |  | 502877562.5 | Capacity (kW) | 500000 | Miscellaneous | 7337008700 |  | 0.04 | 293480348 |  | 25 | 281741134.08 |  |  | Particular | Change | Net Income After Tax | ENPV | EIRR
Deaerator | 11056000 | 1 | 11056000 | 561092000 | Instrumentation and Control | 0.2 | 14674017400 | Electricity cost per kWh | 9.8 | [6 empty] | Total | 8919172107.2241 |  |  | Base Case |  | PHP | PHP | %
Closed FW Heater | 9076000 | 4 | 36304000 | 1842428000 |  | total | 134845568406.875 | heat rate (kJ/kWh) | 10129.8858 | [10 empty] | Construction Delay | 1 year | 30663447287.4837 | 308996785412.8395 | 3.3724
Pump | 15500000 | 3 | 46500000 | 2359875000 | [5 empty] | ROI | [9 empty] | Reduce of Power Generation by 10% | 10% | 30686631537.3525 | 309230414026.5602 | 3.3755
Generator | 48400000 | 1 | 48400000 | 2456300000 | [5 empty] | Year |  | Period |  |  | TCL |  | Net Income After Tax |  | ROI | Increase of Fuel Price by 10% | 10% | 26779635371.1039 | 269859457308.2039 | 2.8139
|  |  | total | 73370087000 | Annual Operating Expenditures |  |  | Heat rate KJ/MW-hr | 10129885.7995 | 2022 |  | 2 |  |  | 134845568406.875 |  | 30663447287.4837 |  | 22.74% | Drop of Fuel Price by 10% | 10% | 31957616740.4715 | 322038182780.9678 | 3.5435
[5 empty] | Fuel Cost |  | 6811418173.6202 | Coal price ($) | 0.068 | 2023 |  | 3 |  |  | 104182121119.3913 |  | 30663447287.4837 |  | 29.43%
[5 empty] | Labor | 0.2 | 1362283634.724 | Coal price (Php) | 3.451 | 2024 |  | 4 |  |  | 73518673831.9077 |  | 30663447287.4837 |  | 41.71% | Break Even
[5 empty] | Maintenance and Repair | 0.2 | 1362283634.724 | HHV kJ/kg | 22479.4704 | 2025 |  | 5 |  |  | 42855226544.424 |  | 30663447287.4837 |  | 71.55% | Annual Equipment Cost | Annual Capital Cost | Equivalent Total Annual Cost | Equivalent Total Annual Benefit | Unit Generated To Break Even (MW)
[5 empty] | Supervision | 0.2 | 1362283634.724 | Fuel Cost | 6811418173.6202 | 2045 |  | 25 |  |  | -570413719205.2495 |  | 30663447287.4837 |  | 5.376% | 2704714887.168 | 4970947033.751 | 19936214633.4354 | 42924000000 | 232.2269
[5 empty] | Supplies | 0.1 | 681141817.362 | Annual Revenue | 42924000000 | [8 empty] | Average | 34.16%
[5 empty] | Operating Taxes | 0.1 | 681141817.362 | Revenue | 523581660546.3251
[6 empty] | total | 12260552712.5163 | Annual Depreciation | 4854440462.6475 | Payback Period | [9 empty] | For Power Generation - 10%
[10 empty] | Year |  | Net Income After Tax |  |  |  | TCL | Depreciation |  |  | Design | 450
[10 empty] | 2022 |  | 30663447287.4837 |  |  |  | 134845568406.875 | 125926396299.6509
[10 empty] | 2023 |  | 30663447287.4837 |  |  |  | 104182121119.3913 | 117007224192.4268
[10 empty] | 2024 |  | 30663447287.4837 |  |  |  | 73518673831.9077 | 108088052085.2027
[10 empty] | 2025 |  | 30663447287.4837 |  |  |  | 42855226544.424 | 99168879977.9786
[10 empty] | Average |  | 30663447287.4837 |  |  |  | 88850397475.6495 | 112547638138.8147
[10 empty] | Payback Period | [5 empty] | 4.3976

## CASE 2
Equipment (EU) |  |  |  |  | Capital Expenditures |  |  |  |  | Depreciation | [9 empty] | Sensitivity Analysis
| price ($) | unit | total | price (Php) | Equipment Cost |  | 73830694000 | service facilities cost | 2011629915.3995 |  | BookValue |  | Depreciation Rate | Salvage Value |  | Service Life | Depreciation |  |  |  | Power Generation -10% | Increase Fuel Price 10% | Decrease Fuel Price 10%
Boiler | 700586000 | 1 | 700586000 | 35554739500 | Miscellaneous Cost | 0.1 | 7383069400 | auxilliary cost | 2682173220.5327 | Equipment Cost | 73830694000 |  | 0.04 | 2953227760 |  | 25 | 2835098649.6 |  |  | Revenue | 35541072000 | 42924000000 | 42924000000
Low Pressure Turbine | 90700000 | 1 | 90700000 | 4603025000 | Building Cost | 0.33 | 24364129020 |  |  | Instrumentation & Cost | 14766138800 |  | 0.04 | 590645552 |  | 25 | 567019729.92 |  |  | Operating Cost | 4884785251.8075 | 16059576531.0654 | 10795747212.6441
High Pressure Turbine | 80920000 | 1 | 80920000 | 4106690000 | Electrical Cost | 0.2 | 14766138800 |  |  | Service Facilities | 2011629915.3995 |  | 0.04 | 80465196.616 |  | 25 | 77246588.7513 |  |  | Total Revenue | 30656286748.1925 | 26864423468.9346 | 32128252787.3559
Double Flow Turbine | 280750000 | 1 | 280750000 | 14248062500 | Excavation and Foundation Cost | 0.15 | 75431634.375 | Note |  | Capital Cost | 135688479216.875 |  | 0.04 | 5427539168.675 |  | 25 | 5210437601.928
Condenser | 150500000 | 1 | 150500000 | 7637875000 | Land Cost (1250/m2) |  | 502877562.5 | Capacity (kW) | 500000 | Miscellaneous | 7383069400 |  | 0.04 | 295322776 |  | 25 | 283509864.96 |  |  | Particular | Change | Net Income After Tax | ENPV | EIRR
Deaerator | 11056000 | 1 | 11056000 | 561092000 | Instrumentation and Control | 0.2 | 14766138800 | Electricity cost per kWh | 9.8 | [6 empty] | Total | 8973312435.1593 |  |  | Base Case |  | PHP | PHP | %
Closed FW Heater | 9076000 | 5 | 45380000 | 2303035000 |  | total | 135688479216.875 | heat rate (kJ/kWh) | 9972.2656 | [10 empty] | Construction Delay | 1 year | 30854220507.6028 | 310919214786.3867 | 3.3723
Pump | 15500000 | 3 | 46500000 | 2359875000 | [5 empty] | ROI | [9 empty] | Reduce of Power Generation by 10% | 10% | 30656286748.1925 | 308924628371.8502 | 3.3457
Generator | 48400000 | 1 | 48400000 | 2456300000 | [5 empty] | Year |  | Period |  |  | TCL |  | Net Income After Tax |  | ROI | Increase of Fuel Price by 10% | 10% | 26864423468.9346 | 270713870363.1138 | 2.8013
|  |  | total | 73830694000 | Annual Operating Expenditures |  |  | Heat rate KJ/MW-hr | 9972265.5862 | 2022 |  | 2 |  |  | 135688479216.875 |  | 30854220507.6028 |  | 22.74% | Drop of Fuel Price by 10% | 10% | 32128252787.3559 | 323757689053.9739 | 3.5397
[5 empty] | Fuel Cost |  | 6705433051.3318 | Coal price ($) | 0.068 | 2023 |  | 3 |  |  | 104834258709.2722 |  | 30854220507.6028 |  | 29.43%
[5 empty] | Labor | 0.2 | 1341086610.2664 | Coal price (Php) | 3.451 | 2024 |  | 4 |  |  | 73980038201.6694 |  | 30854220507.6028 |  | 41.71% | Break Even
[5 empty] | Maintenance and Repair | 0.2 | 1341086610.2664 | HHV kJ/kg | 22479.4704 | 2025 |  | 5 |  |  | 43125817694.0666 |  | 30854220507.6028 |  | 71.54% | Annual Equipment Cost | Annual Capital Cost | Equivalent Total Annual Cost | Equivalent Total Annual Benefit | Unit Generated To Break Even (MW)
[5 empty] | Supervision | 0.2 | 1341086610.2664 | Fuel Cost | 6705433051.3318 | 2045 |  | 25 |  |  | -573958592457.9899 |  | 30854220507.6028 |  | 5.376% | 2721694703.616 | 5002020097.8509 | 19793494293.8641 | 42924000000 | 230.5644
[5 empty] | Supplies | 0.1 | 670543305.1332 | Annual Revenue | 42924000000 | [8 empty] | Average | 34.16%
[5 empty] | Operating Taxes | 0.1 | 670543305.1332 | Revenue | 523581660546.3251
[6 empty] | total | 12069779492.3972 | Annual Depreciation | 4884785251.8075 | Payback Period | [9 empty] | For Power Generation - 10%
[10 empty] | Year |  | Net Income After Tax |  |  |  | TCL | Depreciation |  |  | Design | 450
[10 empty] | 2022 |  | 30854220507.6028 |  |  |  | 135688479216.875 | 126715166781.7157
[10 empty] | 2023 |  | 30854220507.6028 |  |  |  | 104834258709.2722 | 117741854346.5563
[10 empty] | 2024 |  | 30854220507.6028 |  |  |  | 73980038201.6694 | 108768541911.397
[10 empty] | 2025 |  | 30854220507.6028 |  |  |  | 43125817694.0666 | 99795229476.2377
[10 empty] | Average |  | 30854220507.6028 |  |  |  | 89407148455.4708 | 113255198128.9767
[10 empty] | Payback Period | [5 empty] | 4.3977

## CASE 3 US
Equipment (US) |  |  |  |  | Capital Expenditures |  |  |  |  | Depreciation | [9 empty] | Sensitivity Analysis
| price ($) | unit | total | price (Php) | Equipment Cost |  | 74605257247.5 | service facilities cost | 1961885730.0031 |  | BookValue |  | Depreciation Rate | Salvage Value |  | Service Life | Depreciation |  |  |  | Power Generation -10% | Increase Fuel Price 10% | Decrease Fuel Price 10%
Boiler | 699000000 | 1 | 699000000 | 35474250000 | Miscellaneous Cost | 0.1 | 7460525724.75 | auxilliary cost | 2615847640.0042 | Equipment Cost | 74605257247.5 |  | 0.04 | 2984210289.9 |  | 25 | 2864841878.304 |  |  | Revenue | 35541072000 | 42924000000 | 42924000000
Low Pressure Turbine | 88040000 | 1 | 88040000 | 4468030000 | Building Cost | 0.33 | 24619734891.675 |  |  | Instrumentation & Cost | 14921051449.5 |  | 0.04 | 596842057.98 |  | 25 | 572968375.6608 |  |  | Operating Cost | 4935813478.5528 | 15926925370.0084 | 10528786751.0169
High Pressure Turbine | 81486200 | 1 | 81486200 | 4135424650 | Electrical Cost | 0.2 | 14921051449.5 |  |  | Service Facilities | 1961885730.0031 |  | 0.04 | 78475429.2001 |  | 25 | 75336412.0321 |  |  | Total Revenue | 30605258521.4472 | 26997074629.9916 | 32395213248.9831
Double Flow Turbine | 276269530 | 1 | 276269530 | 14020678647.5 | Excavation and Foundation Cost | 0.15 | 75431634.375 | Note |  | Capital Cost | 137105929959.8 |  | 0.04 | 5484237198.392 |  | 25 | 5264867710.4563
Condenser | 154000000 | 1 | 154000000 | 7815500000 | Land Cost (1250/m2) |  | 502877562.5 | Capacity (kW) | 500000 | Miscellaneous | 7460525724.75 |  | 0.04 | 298421028.99 |  | 25 | 286484187.8304 |  |  | Particular | Change | Net Income After Tax | ENPV | EIRR
Deaerator | 10902000 | 1 | 10902000 | 553276500 | Instrumentation and Control | 0.2 | 14921051449.5 | Electricity cost per kWh | 9.8 | [6 empty] | Total | 9064498564.2836 |  |  | Base Case |  | PHP | PHP | %
Closed FW Heater | 9508000 | 7 | 66556000 | 3377717000 |  | total | 137105929959.8 | heat rate (kJ/kWh) | 9725.6684 | [10 empty] | Construction Delay | 1 year | 31152685619.9812 | 313926859667.8684 | 3.3691
Pump | 15000000 | 3 | 45000000 | 2283750000 | [5 empty] | ROI | [9 empty] | Reduce of Power Generation by 10% | 10% | 30605258521.4472 | 308410414888.8785 | 3.2959
Generator | 48800600 | 1 | 48800600 | 2476630450 | [5 empty] | Year |  | Period |  |  | TCL |  | Net Income After Tax |  | ROI | Increase of Fuel Price by 10% | 10% | 26997074629.9916 | 272050601421.5502 | 2.7788
|  |  | total | 74605257247.5 | Annual Operating Expenditures |  |  | Heat rate KJ/MW-hr | 9725668.4242 | 2022 |  | 2 |  |  | 137105929959.8 |  | 31152685619.9812 |  | 22.72% | Drop of Fuel Price by 10% | 10% | 32395213248.9831 | 326447860309.0771 | 3.531
[5 empty] | Fuel Cost |  | 6539619100.0105 | Coal price ($) | 0.068 | 2023 |  | 3 |  |  | 105953244339.8188 |  | 31152685619.9812 |  | 29.4%
[5 empty] | Labor | 0.2 | 1307923820.0021 | Coal price (Php) | 3.451 | 2024 |  | 4 |  |  | 74800558719.8377 |  | 31152685619.9812 |  | 41.65% | Break Even
[5 empty] | Maintenance and Repair | 0.2 | 1307923820.0021 | HHV kJ/kg | 22479.4704 | 2025 |  | 5 |  |  | 43647873099.8565 |  | 31152685619.9812 |  | 71.37% | Annual Equipment Cost | Annual Capital Cost | Equivalent Total Annual Cost | Equivalent Total Annual Benefit | Unit Generated To Break Even (MW)
[5 empty] | Supervision | 0.2 | 1307923820.0021 | Fuel Cost | 6539619100.0105 | 2045 |  | 25 |  |  | -579405839299.7665 |  | 31152685619.9812 |  | 5.377% | 2750248203.1718 | 5054273002.0381 | 19575835585.2288 | 42924000000 | 228.029
[5 empty] | Supplies | 0.1 | 653961910.001 | Annual Revenue | 42924000000 | [8 empty] | Average | 34.1%
[5 empty] | Operating Taxes | 0.1 | 653961910.001 | Revenue | 523581660546.3251 | [12 empty] | Total equity | 23348164414.7712
[6 empty] | total | 11771314380.0188 | Annual Depreciation | 4935813478.5528 | Payback Period | [9 empty] | For Power Generation - 10% |  | Total loan | 8952630869.7
[10 empty] | Year |  | Net Income After Tax |  |  |  | TCL | Depreciation |  |  | Design | 450 | DSCR | 3.4797
[10 empty] | 2022 |  | 31152685619.9812 |  |  |  | 137105929959.8 | 128041431395.5164
[10 empty] | 2023 |  | 31152685619.9812 |  |  |  | 105953244339.8188 | 118976932831.2327
[10 empty] | 2024 |  | 31152685619.9812 |  |  |  | 74800558719.8377 | 109912434266.9491
[10 empty] | 2025 |  | 31152685619.9812 |  |  |  | 43647873099.8565 | 100847935702.6654
[10 empty] | Average |  | 31152685619.9812 |  |  |  | 90376901529.8283 | 114444683549.0909
[10 empty] | Payback Period | [5 empty] | 4.4011

## CASE 3 CHI
Equipment (CHI) |  |  |  |  | Capital Expenditures |  |  |  |  | Depreciation | [9 empty] | Sensitivity Analysis
| price ($) | unit | total | price (Php) | Equipment Cost |  | 74324187000 | service facilities cost | 1961885730.0031 |  | BookValue |  | Depreciation Rate | Salvage Value |  | Service Life | Depreciation |  |  |  | Power Generation -10% | Increase Fuel Price 10% | Decrease Fuel Price 10%
Boiler | 699700000 | 1 | 699700000 | 35509775000 | Miscellaneous Cost | 0.1 | 7432418700 | auxilliary cost | 2615847640.0042 | Equipment Cost | 74324187000 |  | 0.04 | 2972967480 |  | 25 | 2854048780.8 |  |  | Revenue | 35541072000 | 42924000000 | 42924000000
Low Pressure Turbine | 87060000 | 1 | 87060000 | 4418295000 | Building Cost | 0.33 | 24526981710 |  |  | Instrumentation & Cost | 14864837400 |  | 0.04 | 594593496 |  | 25 | 570809756.16 |  |  | Operating Cost | 4917296570.6475 | 15926925370.0084 | 10528786751.0169
High Pressure Turbine | 80000000 | 1 | 80000000 | 4060000000 | Electrical Cost | 0.2 | 14864837400 |  |  | Service Facilities | 1961885730.0031 |  | 0.04 | 78475429.2001 |  | 25 | 75336412.0321 |  |  | Total Revenue | 30623775429.3525 | 26997074629.9916 | 32395213248.9831
Double Flow Turbine | 280560000 | 1 | 280560000 | 14238420000 | Excavation and Foundation Cost | 0.15 | 75431634.375 | Note |  | Capital Cost | 136591571406.875 |  | 0.04 | 5463662856.275 |  | 25 | 5245116342.024
Condenser | 150200000 | 1 | 150200000 | 7622650000 | Land Cost (1250/m2) |  | 502877562.5 | Capacity (kW) | 500000 | Miscellaneous | 7432418700 |  | 0.04 | 297296748 |  | 25 | 285404878.08 |  |  | Particular | Change | Net Income After Tax | ENPV | EIRR
Deaerator | 10800000 | 1 | 10800000 | 548100000 | Instrumentation and Control | 0.2 | 14864837400 | Electricity cost per kWh | 9.8 | [6 empty] | Total | 9030716169.0961 |  |  | Base Case |  | PHP | PHP | %
Closed FW Heater | 9050000 | 7 | 63350000 | 3215012500 |  | total | 136591571406.875 | heat rate (kJ/kWh) | 9725.6684 | [10 empty] | Construction Delay | 1 year | 31152685619.9812 | 313926859667.8684 | 3.3847
Pump | 14900000 | 3 | 44700000 | 2268525000 | [5 empty] | ROI | [9 empty] | Reduce of Power Generation by 10% | 10% | 30623775429.3525 | 308597010510.8541 | 3.3139
Generator | 48146000 | 1 | 48146000 | 2443409500 | [5 empty] | Year |  | Period |  |  | TCL |  | Net Income After Tax |  | ROI | Increase of Fuel Price by 10% | 10% | 26997074629.9916 | 272050601421.5502 | 2.7943
|  |  | total | 74324187000 | Annual Operating Expenditures |  |  | Heat rate KJ/MW-hr | 9725668.4242 | 2022 |  | 2 |  |  | 136591571406.875 |  | 31152685619.9812 |  | 22.81% | Drop of Fuel Price by 10% | 10% | 32395213248.9831 | 326447860309.0771 | 3.5465
[5 empty] | Fuel Cost |  | 6539619100.0105 | Coal price ($) | 0.068 | 2023 |  | 3 |  |  | 105438885786.8938 |  | 31152685619.9812 |  | 29.55%
[5 empty] | Labor | 0.2 | 1307923820.0021 | Coal price (Php) | 3.451 | 2024 |  | 4 |  |  | 74286200166.9127 |  | 31152685619.9812 |  | 41.94% | Break Even
[5 empty] | Maintenance and Repair | 0.2 | 1307923820.0021 | HHV kJ/kg | 22479.4704 | 2025 |  | 5 |  |  | 43133514546.9315 |  | 31152685619.9812 |  | 72.22% | Annual Equipment Cost | Annual Capital Cost | Equivalent Total Annual Cost | Equivalent Total Annual Benefit | Unit Generated To Break Even (MW)
[5 empty] | Supervision | 0.2 | 1307923820.0021 | Fuel Cost | 6539619100.0105 | 2045 |  | 25 |  |  | -579920197852.6915 |  | 31152685619.9812 |  | 5.372% | 2739886829.568 | 5035311688.343 | 19546512897.9299 | 42924000000 | 227.6875
[5 empty] | Supplies | 0.1 | 653961910.001 | Annual Revenue | 42924000000 | [8 empty] | Average | 34.38%
[5 empty] | Operating Taxes | 0.1 | 653961910.001 | Revenue | 523581660546.3251 | [13 empty] | total equity | 23377487102.0701
[6 empty] | total | 11771314380.0188 | Annual Depreciation | 4917296570.6475 | Payback Period | [9 empty] | For Power Generation - 10% |  |  | total loan | 8918902440
[10 empty] | Year |  | Net Income After Tax |  |  |  | TCL | Depreciation |  |  | Design | 450 |  | DSCR | 3.4929
[10 empty] | 2022 |  | 31152685619.9812 |  |  |  | 136591571406.875 | 127560855237.7789
[10 empty] | 2023 |  | 31152685619.9812 |  |  |  | 105438885786.8938 | 118530139068.6828
[10 empty] | 2024 |  | 31152685619.9812 |  |  |  | 74286200166.9127 | 109499422899.5867
[10 empty] | 2025 |  | 31152685619.9812 |  |  |  | 43133514546.9315 | 100468706730.4905
[10 empty] | Average |  | 31152685619.9812 |  |  |  | 89862542976.9033 | 114014780984.1347
[10 empty] | Payback Period | [5 empty] | 4.3846

## CASE 3 EU
Equipment (EU) |  |  |  |  | Capital Expenditures |  |  |  |  | Depreciation | [10 empty] | Sensitivity Analysis
| price ($) | unit | total | price (Php) | Equipment Cost |  | 74751908000 | service facilities cost | 1961885730.0031 |  | BookValue |  | Depreciation Rate | Salvage Value |  | Service Life | Depreciation |  |  |  |  | Power Generation -10% | Increase Fuel Price 10% | Decrease Fuel Price 10%
Boiler | 700586000 | 1 | 700586000 | 35554739500 | Miscellaneous Cost | 0.1 | 7475190800 | auxilliary cost | 2615847640.0042 | Equipment Cost | 74751908000 |  | 0.04 | 2990076320 |  | 25 | 2870473267.2 |  |  |  | Revenue | 35541072000 | 42924000000 | 42924000000
Low Pressure Turbine | 90700000 | 1 | 90700000 | 4603025000 | Building Cost | 0.33 | 24668129640 |  |  | Instrumentation & Cost | 14950381600 |  | 0.04 | 598015264 |  | 25 | 574094653.44 |  |  |  | Operating Cost | 5220223431.8013 | 15926925370.0084 | 10528786751.0169
High Pressure Turbine | 80920000 | 1 | 80920000 | 4106690000 | Electrical Cost | 0.2 | 14950381600 |  |  | Service Facilities | 1961885730.0031 |  | 0.04 | 78475429.2001 |  | 25 | 75336412.0321 |  |  |  | Total Revenue | 30320848568.1987 | 26997074629.9916 | 32395213248.9831
Double Flow Turbine | 280750000 | 1 | 280750000 | 14248062500 | Excavation and Foundation Cost | 0.15 | 75431634.375 | Note |  | Capital Cost | 137374300836.875 |  | 0.04 | 5494972033.475 |  | 25 | 5275173152.136
Condenser | 150500000 | 1 | 150500000 | 7637875000 | Land Cost (1250/m2) |  | 502877562.5 | Capacity (kW) | 500000 | Miscellaneous | 7475190800 |  | 0.04 | 299007632 |  | 25 | 287047326.72 |  |  |  | Particular | Change | Net Income After Tax | ENPV | EIRR
Deaerator | 11056000 | 1 | 11056000 | 561092000 | Instrumentation and Control | 0.2 | 14950381600 | Electricity cost per kWh | 9.8 | [6 empty] | Total | 9082124811.5281 |  |  |  | Base Case |  | PHP | PHP | %
Closed FW Heater | 9076000 | 7 | 63532000 | 3224249000 |  | total | 137374300836.875 | heat rate (kJ/kWh) | 9725.6684 | [11 empty] | Construction Delay | 1 year | 31152685619.9812 | 470216909831.4152 | 5.0451
Pump | 15500000 | 3 | 46500000 | 2359875000 | [5 empty] | ROI | [10 empty] | Reduce of Power Generation by 10% | 10% | 30320848568.1987 | 457661207483.8295 | 4.9314
Generator | 48400000 | 1 | 48400000 | 2456300000 | [5 empty] | Year |  | Period |  |  | TCL |  | Net Income After Tax |  | ROI |  | Increase of Fuel Price by 10% | 10% | 26997074629.9916 | 407492347910.4669 | 4.4452
|  |  | total | 74751908000 | Annual Operating Expenditures |  |  | Heat rate KJ/MW-hr | 9725668.4242 | 2022 |  | 2 |  |  | 137374300836.875 |  | 31152685619.9812 |  | 22.68% | 114405075628.632 | Drop of Fuel Price by 10% | 10% | 32395213248.9831 | 488971552985.3503 | 5.2095
[5 empty] | Fuel Cost |  | 6539619100.0105 | Coal price ($) | 0.068 | 2023 |  | 3 |  |  | 106221615216.8938 |  | 31152685619.9812 |  | 29.33% | 105677955070.5173
[5 empty] | Labor | 0.2 | 1307923820.0021 | Coal price (Php) | 3.451 | 2024 |  | 4 |  |  | 75068929596.9127 |  | 31152685619.9812 |  | 41.5% | 82801443016.6285 | Break Even
[5 empty] | Maintenance and Repair | 0.2 | 1307923820.0021 | HHV kJ/kg | 22479.4704 | 2025 |  | 5 |  |  | 43916243976.9315 |  | 31152685619.9812 |  | 70.94% | 64877097224.8754 | Annual Equipment Cost | Annual Capital Cost | Equivalent Total Annual Cost | Equivalent Total Annual Benefit | Unit Generated To Break Even (MW)
[5 empty] | Supervision | 0.2 | 1307923820.0021 | Fuel Cost | 6539619100.0105 | 2045 |  | 25 |  |  | -579137468422.6915 |  | 31152685619.9812 |  | 5.379% | 50832903280.2082 | 2755654336.512 | 5064166226.0506 | 19591134942.5814 | 42924000000 | 228.2072
[5 empty] | Supplies | 0.1 | 653961910.001 | Annual Revenue | 42924000000 | [8 empty] | Average | 33.96% | 418594474220.8613
[5 empty] | Operating Taxes | 0.1 | 653961910.001 | Revenue | 523581660546.3251 | [13 empty] | total equity | 23332865057.4186
[6 empty] | total | 11771314380.0188 | Annual Depreciation | 5220223431.8013 | Payback Period | [10 empty] | For Power Generation - 10% |  | total loan | 8970228960
[10 empty] | Year |  | Net Income After Tax |  |  |  | TCL | Depreciation |  |  |  | Design | 450 | DSCR | 3.4729
[7 empty] | 1307.9238 | Fixed Cost |  | 2022 |  | 31152685619.9812 |  |  |  | 137374300836.875 | 128292176025.3469
[10 empty] | 2023 |  | 31152685619.9812 |  |  |  | 106221615216.8938 | 119210051213.8188
[10 empty] | 2024 |  | 31152685619.9812 |  |  |  | 75068929596.9127 | 110127926402.2906
[10 empty] | 2025 |  | 31152685619.9812 |  |  |  | 43916243976.9315 | 101045801590.7625
[10 empty] | Average |  | 31152685619.9812 |  |  |  | 90645272406.9033 | 114668988808.0547
[10 empty] | Payback Period | [5 empty] | 4.4097

## SELECTION
| Equipment | Quantiity | US Equipment |  | Chinese Equipment |  | European Equipment
|  |  | Unit Price |  | Unit Price |  | Unit Price
|  |  | US$ | Php | US$ | Php | US$ | Php
| Boiler | 1 | 699000000 | 35474250000 | 699700000 | 35509775000 | 700586000 | 35554739500
| Low Pressure Turbine | 1 | 88040000 | 4468030000 | 87060000 | 4418295000 | 90700000 | 4603025000
| High Pressure Turbine | 1 | 81486200 | 4135424650 | 80000000 | 4060000000 | 80920000 | 4106690000
| Double Flow Turbine | 1 | 276269530 | 14020678647.5 | 280560000 | 14238420000 | 280750000 | 14248062500
| Condenser | 1 | 154000000 | 7815500000 | 150200000 | 7622650000 | 150500000 | 7637875000
| Deaerator | 1 | 10902000 | 553276500 | 10800000 | 548100000 | 11056000 | 561092000
| Closed FW Heater | 7 | 66556000 | 3377717000 | 63350000 | 3215012500 | 63532000 | 3224249000
| Pump | 3 | 45000000 | 2283750000 | 44700000 | 2268525000 | 46500000 | 2359875000
| Generator | 1 | 48800600 | 2476630450 | 48146000 | 2443409500 | 48400000 | 2456300000
| TOTAL |  |  | 74605257247.5 |  | 74324187000 |  | 74751908000
DESIGN 3
| Installed Capacity | MW | 500
| Capacity Factor |  | 54.6
| Energy | GWh/year | 4380
| Cost/KW | Php/kW | 9.8
| Capital Cost | Php | 137374300836.875
| Life | Years | 25
| Discount Rate |  | 0.05
| Capital Recovery Factor |  | 0.070952
| Annual Capacity Cost | Php | 11771314380.0188
| Fixed O&M | Php | 1307923820.0021
| Total Fixed Cost | Php | 5220223431.8013
| Fixed Cost/kWh | Php/kWh | 10440.4469
| Variable Cost/kWh | Php/kWh | 1307.9238
| LCOE | Php/kWh | 4.357
EQUIPMENT SELECTION
|  | Relative Capital Cost | Php/kW | Ave. Efficiency | T1 years | T2 years | O&M
| US Equipment | 74605257247.5 | 9.8 | 42 | 1 | 25 | 1307923820.0021
| Chinese Equipment | 74324187000 | 9.8 | 43 | 1 | 25 | 1307923820.0021
| European Equipment | 74751908000 | 9.8 | 46 | 1 | 25 | 1307923820.0021
|  |  | Chinese Equipment |  | US equipment |  | European equipment
|  |  | (Equipment/Model) |  | (Equipment/Model) |  | (Equipment/Model)
|  |  | PHP | % | PHP | % | PHP | %
| total equity | Php | 23377487102.0701 |  | 23348164414.7712 |  | 23332865057.4186
| total loan | Php | 8918902440 |  | 8952630869.7 |  | 8970228960
| total capital cost | Php | 74324187000 |  | 74605257247.5 |  | 74751908000
|  | Php/kW | 148648.374 |  | 149210.5145 |  | 149503.816
| average generation | GWh | 4200 |  | 4200 |  | 4200
| DSCR, first year | [ ] | 14.5537 |  | 14.4989 |  | 14.4704
| FIRR, | [ ] | 344270287220.8613 |  | 343989216973.3613 |  | 343842566220.8613
|  | Net Income After Tax | 31152685619.9812